## Kit architecture
| KMEDMTRAMK2--A1 | KIT, MAJOR TRAUMA, backpack, complete (2021)
MODULE 1 | KMEDMTRAMK2S1A1 | (kit major trauma 2021) SET 1, AIRWAY
MODULE 2 | KMEDMTRAMK2S2A1 | (kit major trauma 2021) SET 2, INSTRUMENT
MODULE 3 | KMEDMTRAMK2S3A1 | (kit major trauma 2021) SET 3, INTUBATION
MODULE 4 | KMEDMTRAMK2S4A1 | (kit major trauma 2021) SET 4, INFUSION
MODULE 5 | KMEDMTRAMO1S5A1 | (kit major trauma 2021) SET 5, INJECTION
MODULE 6 | KMEDMTRAMO1S6A1 | (kit major trauma 2021) SET 6, WOUND DRESSING
MODULE 7 | KMEDMTRAMO1S7A1 | (kit major trauma 2021) SET 7, SMALL SUPPLIES
MODULE 8 Optional | KMEDMTRAMK2S8A1 | (kit major trauma 2021) SET 8, INTRAOSSEOUS INFUSION KIT, start pack
MODULE 9 Optional | KMEDMTRAMK2S9A1 | (kit major trauma 2021) SET 9, ADRENALINE PEN
MODULE 10 Optional | KMEDMTRAMK2SAA1 | (kit major trauma 2021) SET 10, AMPULE STORAGE CASE, empty

## set 1 Airway
1 | (kit major trauma 2021) SET 1, AIRWAY
Content of the set to be placed in detachable colored coded pocket
# | Item description | preesentation | Quantity
1.1 | Resuscitator, hand-operated, adult, children, baby w/valve+ reservoir bag+mask, single use (Laerdal©) | set | 1
1.3 | TUBE, GUEDEL, airways, No 1 length 60mm, child | each | 1
1.4 | TUBE, GUEDEL, airways, No 2 length 70mm, adolescent | each | 1
1.5 | TUBE, GUEDEL, airways, No 4 length 90mm, adult | each | 1
1.6 | RESCUE SHEET, silver/gold insulating foil, 210 cm x 160 cm | each | 1

## set 2 Instruments
2 | (kit major trauma 2021) SET 2, INSTRUMENT
Content of the set to be placed in detachable colored coded pocket
# | Item description | presentation | Quantity
2.1 | Anatomic forceps, 145mm | each | 1
2.2 | Bandage scissors, Lister, 145mm | each | 1
2.3 | Stop watch timer | each | 1
2.4 | Cloth scissors ( trauma shears) 185mm | each | 1
2.5 | Diagnostic / pen light | each | 1
2.6 | Digital thermometer, individual, in plastic case | each | 1
2.7 | Finger Pulse oximeter adult | each | 1
2.8 | Sphygmomanometer, aneroid, with adult/child cuff | each | 1
2.9 | Splinter forceps, 115mm | each | 1
2.1 | Stethoscope, binaural, double cup, adult/child | each | 1
2.11 | Surgical forceps, 145 mm | each | 1

## Set 3 Intubation
3 | (kit major trauma 2021) SET 3, INTUBATION
Content of the set to be placed in detachable colored coded pocket
# | Item description | presentation | Quantity
3.1 | Cuff syringe | each | 3
3.4 | Tube, endotracheal, No. 4.0 with cuff, sterile, single use | each | 1
3.5 | Tube, endotracheal, No. 6.0 with cuff, sterile, single use | each | 1
3.6 | Tube, endotracheal, No. 7.0, with cuff, sterile, single use | each | 1
3.7 | Tube, endotracheal, No. 8.0, with cuff, sterile, single use | each | 1
3.2 | Dual-tube laryngeal mask airway (LMA) size 2.5 | each | 1
3.3 | Dual-tube laryngeal mask airway (LMA) size 4 | each | 1
3.8 | Glove, EXAMINATION, NITRILE, size L , pair | pair | 2
3.9 | Glove, EXAMINATION, NITRILE, size M , pair | pair | 2
3.1 | laryngoscope cast with 1 handle and 2 blades of different sizes | each | 1
3.11 | Magill forceps 20cm | each | 1
3.12 | Stilet for Endotracheal tube , singe use 6Fr malleable | each | 1
3.13 | Stilet for Endotracheal tube , singe use 9Fr malleable | each | 1
3.14 | surgical tape, tissue, 25mm x 5m | each | 1
3.15 | Tongue depressor, wood | each | 2

## set 4 Infusion
4 | (kit major trauma 2021) SET 4, INFUSION
Content of the set to be placed in detachable colored coded pocket
# | Item description | presntation | Quantity
4.1 | ALCOHOL SWAB (BD), 70% isopropyl alcohol, | each | 10
4.2 | Bandage, elastic, adhesive, woven, 6 cm x 2.5 m, non-sterile, single use | each | 3
4.3 | Cannula, IV, short, with injection port, 16 G (1.7 x 50 mm), grey, sterile, single use | each | 3
4.4 | Cannula, IV, short, with injection port, 18 G (1.3 x 45 mm), green, sterile, single use | each | 3
4.5 | Cannula, IV, short, with injection port, 20 G (1.1 x 33 mm), pink, sterile, single use | each | 3
| Canula IV plaster , 6cm X 8 cm | each | 9
4.6 | Glove, EXAMINATION, NITRILE, size L , pair | pair | 2
4.7 | Glove EXAMINATION, NITRILE, size M , pair | pair | 2
4.8 | Povidone iodine Prep pad, sterile, 10X 10 cm | each | 10
4.9 | Pressure bag for IV infusion or presure pump 500 ml | each | 1
4.1 | Ringer lactate, 500 mL, plastic bottle, w/ IV giving | each | 3
4.11 | Tourniquet, Cotton, 42x2.4cm, elastic, with buckle | each | 1

## Set 5 Injection
5 | (kit major trauma 2021) SET 5, INJECTION
Content of the set to be placed in detachable colored coded pocket
# | Item description | presentation | Quantity
5.1 | Alcohol Swab (BD), 70% isopropyl alcohol, | each | 10
5.2 | Gloves, EXAMINATION, NITRILE, size L, pair | pair | 2
5.3 | Glove, EXAMINATION, NITRILE, size M, pair | pair | 2
5.4 | Hand sanitizer 50 ml | each | 1
5.5 | Needle for IM injection | each | 10
5.6 | Needle for IV injection | each | 10
5.7 | Needle for SC injection | each | 10
5.8 | Safety Container, sharps, 0.3 l, plastic | each | 2
5.9 | Syringes, disposable, 10ml | each | 1
5.1 | Syringes, disposable, 2ml | each | 5
5.11 | Syringes, disposable, 5ml | each | 5

## set 6 dressing
6 | (kit major trauma 2021) SET 6, WOUND DRESSING
Content of the set to be placed in detachable colored coded pocket
# | Item description | presentaion | Quantity
6.1 | zinc oxyde tape , roll, 2,50 cm x 5m | each | 1
6.2 | Adhesive Skin Closures Steri Strip 1/4 inch x 4 inch (6mm x 100mm), envelopes | each | 5
6.3 | Bandage, elastic, adhesive, woven, 10 cm x 2.5 m, non-sterile, single use | each | 2
6.4 | Compress, gauze, With parrafin, 10X10 cm, streril, single use | each | 10
6.5 | Compress, gauze, 10 x 10 cm, 8 to 12 ply, non-sterile, single use, pack 100 | pack 100 | 1
6.6 | Compress, gauze, 10 x 20 cm, 8 to 12 ply, sterile, single use, pack of 2 | Pack 2 | 25
6.7 | Glove, EXAMINATION, NITRILE, size L , pair | pair | 2
6.8 | Glove, EXAMINATION, NITRILE, size M, pair | pair | 2
6.9 | Hemostatic dressing ( WoundClot Trauma Gauze) 5" x 9" | each | 1
6.1 | Hemostatic tourniquet SOFT TACTICAL Tourniquet 1.5in. Rescue Orange | each | 1
6.11 | Bandage, Pressure, pad+ elastic band.+ pressure bar, sterile ( Israeli bandage) | each | 1
6.12 | Bandage, Extensive, non-adhesive, 6-7 cm x 4 m | each | 1
6.13 | Bandage, Crepe (Velpeau), 10 cm x 4 m | each | 1

## set 7 Equipment
7 | (kit major trauma 2021) SET 7, SMALL SUPPLIES
Content of the set to be placed in detachable colored coded pocket
# | Item description | Presentation | Quantity
7.1 | Foldable soft stretcher | each | 1
7.2 | Patient identification bracelets adults , write on type | each | 20
7.3 | Glasses, safety, for surgical procedures | each | 2
7.4 | SAM© pelvic splint /belt sling II | each | 1
7.5 | Mask, surgical, flat rectangular, non-sterile, single use | each | 10
7.6 | Pen black | each | 1

## Option IO
8 | (kit major trauma 2021) SET 8, INTRAOSSEOUS INFUSION KIT, start pack
Content of the set to be placed in detachable colored coded pocket
# | Item description | Presentation | Quantity
8.1 | Arrow® EZ-IO® Intraosseous Vascular Access System. Contains in a bag: 1X EZ-IO Power Driver 1X Intraosseous needle , 45 mm (yellow) 1X Intraosseous needle , 25 mm (blue) 1X Intraosseous needle , 15 mm (pink) 1X IV extension set - INT Needless 1X EZ-Stabilizer® Dressing | kit | 1

## Option Adrenaline
9 | (kit major trauma 2021) SET 9, ADRENALINE PEN
Content of the set to be placed in detachable colored coded pocket
# | Item description | Presentation | Quantity
9.1 | Adrenaline 0.3mg auto injectble pen | pen | 1

## Option Ampullarium
10 | (kit major trauma 2021) SET 10, AMPULE STORAGE CASE, empty
Content of the set to be placed in detachable colored coded pocket
# | Item description | Presentation | Quantity
10.1 | EMPTY storage case for ampules (coudl be integrated into the backpack when requested) | pen | 1