## a. Introduction
Rapid warehouse assessment generic tool (Administrative, Logistics and Good Storage and Distribution Practices aspects)
0. CONTEXT, PURPOSE AND METHODOLOGY OF THE TOOL
Context and purpose
This tool was developed to provide specific guidance for assessing warehouses intended to store medical products, including pharmaceuticals. It is not universally applicable and does not replace a proper GSDP inspection or audit. Therefore, it should only be used in the following circumstances: - Assessments conducted by non-specialists in Good Storage and Distribution Practices (e.g., logisticians) This included self assessment. - Assessments conducted during emergency situations in countries graded as emergency grade 3, where time and resources are limited. Please note that this assessment tool does not comprehensively cover all aspects of Good Storage and Distribution Practices, particularly in the contexts mentioned above. | Assessments conducted by non-specialists in Good Storage and Distribution Practices (e.g., logisticians). Assessments carried out during emergency situations (e.g., emergency grade 3). Please be aware that this assessment tool does not comprehensively address all elements of Good Storage and Distribution Practices, given the contexts mentioned above.
Recommended methodology
The assessment typically takes between two and four hours to complete and can be carried out by one or more individuals. It usually begins with a brief introduction in an office setting to address the initial questions of the tool. However, most of the assessment is conducted in the warehouse and its surrounding areas. It is recommended to print the tool prior to use. At the end of the assessment, a brief debriefing and thank-you session may be held to clarify any points, if needed, and to outline potential next steps.
To assist you in completing the tool, a short user guide is available. As a general rule: - 'M' indicates that the field is "Mandatory to be completed." - If the cell is empty, the response is optional, depending on the specific circumstances.
The tool displays three columns representing different situations: - Empty Warehouse: This column pertains to warehouses that are not equipped with any storage features. - Equipped Warehouse: This column applies to warehouses that have some storage features, such as racks, shelves, temperature monitoring systems, etc. - Third-Party Logistics Provider: This column is for warehouses that offer storage services and potentially distribution services.
Write 'N/A' when the cell is 'not applicable'.
Please fill only cells that are not filled in grey (only white cells)
Please note that the quick fixes are for EMPTY WAREHOUSE only
For the assessment, you may need the following items:
Printout of the different pages of the assessment tool (easier to work on paper than directly on the computer, especially when working around the warehouse)
Pen and notebook
Measuring meter (if available)
Thermometer (if available)
The quick fixes are recommended actions that can be implemented to improve the warehouse's compliance with key aspects of Good Storage and Distribution Practices. If you like to learn more quick fixes refer to the the Medical Logistics Operational Toolkit (https://log.logcluster.org/en/health-supply-chain-tools-and-resources)
The assessment data should, if possible, be verified and validated by a pharmaceutical management expert, such as a pharmacist or a GSDP specialist.
Computer compatibility
This tool was designed to be used on Microsoft Excel 365 (version June 2024).
1. KEY INFORMATION RELATED TO THE ASSESSMENT
1.1. Administrative information about the warehouse
1.2. Information about the assessor
2. ADMINISTRATIVE AND LOGISTICS ASSESSMENT
2.1. Key information on pharmaceutical regulations
2.2 Identification of key risks for medical products
2.3 Location and access
2.4 Operational capacity of the warehouse
2.5 Civil engineering
2.6 Utilities and equipment
2.7 Conclusion on the logistics assessment
3. GOOD STORAGE AND DISTRIBUTION PRACTICES RAPID ASSESSMENT
3.1 Organization of the warehouse
3.2 Security, safety and pest control
3.3 Storage conditions
3.4 Handling specific products
3.5 Cold chain management*
3.6 Quality management system*
3.7 Stock control and rotation*
3.8 Dispatch and transport*
* additional modules that may or may not be required for the assessment
4. CONCLUSION : WAREHOUSE ASSESSMENT RESULTS
4.1 Rated warehouse assessment results
4.2 Summary of weaknesses and key risks
4.3 Maturity levels (filled by technical staff)
4.4. Planned reassessment
5. PHOTOS & LAYOUT

## b. Admin & Logistics assessment
1. KEY INFORMATION RELATED TO THE ASSESSMENT
1.1. Administrative information about the warehouse
|  | Empty WH | Equipped WH | 3PL |  | Comments
1 | Country | M | M | M
2 | Name of the warehouse | M | M | M
3 | Physical full address of the facility | M | M | M
4 | GPS coordinates (if available) | M | M | M
5 | Name and contact details of warehouse owner / representative | M | M | M
6 | Type of warehouse | M |  |  | Empty warehouse
|  |  | M |  | Equipped warehouse (warehouse that may have some storage features, such as racks/shelves, temperature monitoring system etc.)
|  |  |  | M | Contracted company to handle at least storage services (this may also include distribution)
7 | What would be the level of the that warehouse in the in-country supply chain? | M | M | M | Central warehouse Project/peripheral warehouse Bonded warehouse Other: please describe:
8 | What type of products and quantities are expected to be stocked, and what is the estimated duration of storage? | M | M | M
9 | Is the warehouse shared by other clients? | M | M | M | scrolling menu | If yes, please detail:
10 | If required, does the facility have a valid license or official document for the operations they perform? What is the expiry date of the document? If available, please keep a PDF version of the license or official document |  | M | M | scrolling menu
11 | Is the warehouse already insured? If yes, please mention the name of the insurance company, the type of coverage, and the expiry date of the insurance policy. If not, does your organization have an insurance corporate policy that could cover it? | M | M | M | scrolling menu
1.2. Information about the assessor
8 | Name of the assessor(s) | M | M | M
9 | Position of the assessor(s) | M | M | M
10 | Contact details (phone, email) | M | M | M
11 | Name of organization | M | M | M
12 | Date of the assessment | M | M | M | DD/MM/YYYY
13 | Any information on past assessment(s) / technical visit(s) by other organization(s) ? If yes, please provide outcome(s) | M | M | M | scrolling menu | If Yes :
2. ADMINISTRATIVE AND LOGISTICS ASSESSMENT
2.1. Key information on pharmaceutical regulations |  |  |  |  | Response | Comments | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | What is the name of the National Regulatory Authority (NRA)? Please include the website if available. | M | M | M | Fill next cell with text
2 | Was is the key contact at the National Regulatory Authority (name, email, mobile number) ? | M | M | M | Fill next cell with text
3 | Is it required to hire a local registered pharmacist (or another profile) in the local pharmaceutical regulations? | M | M | M | scrolling menu
4 | Is it required to register the warehouse with the national authorities in the local pharmaceutical regulations? | M | M | M | scrolling menu
2.2 Identification of key risks for medical products |  |  |  |  | Response | Comments | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | What is the climate of the area? Please detail the different seasons. | M | M | M | Fill next cell with text
2 | What are the stability conditions according the WHO regional recommendations (see the link below)? | M | M | M | Fill next cell with text |  | WHO has set up different conditions to keep pharmaceutical products under acceptable conditions. Each country has been classified according to a specific climate zone.
https://cdn.who.int/media/docs/default-source/medicines/norms-and-standards/guidelines/regulatory-standards/trs953-annex2-appendix1-stability-conditions-table-2018.pdf?sfvrsn=74032aec_12&download=true
3 | What are the key risks ? | M | M | M | Tick the box(es) | Excess heat (high temperature) throughout the year or during a specific season High humidity level throughout the year or during a specific season Risk of freezing throughout the year or during a specific season Risk of flooding Other :
2.3 Location and access |  |  |  |  | Response | Comments | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | What is the distance to the nearest airport / seaport? What is the average time to reach the warehouse from the airport / seaport? | M | M | M | Fill next cell with text
2 | Is the warehouse accessible from the main roads for all type of trucks (i.e. no tight turns, no overhead wires? | M | M | M | scrolling menu
3 | Is the warehouse away from potential target or risky infrastructure (e.g., gas station, chemical plant, grain silo, police station, military base, governmental or political office, embassy, etc.)? | M | M | M | scrolling menu
4 | Are movements of trucks easy within the compound? Does the facility enable easy offloading / loading of cargos? | M | M | M | scrolling menu
5 | Are there nearby activities that may attract pest (storage of food, industrial or commercial activities etc.)? | M | M | M | scrolling menu |  | Nearby warehouses may be checked, as well as presence of markets.
6 | Are opening hours adequate to facilitate receiving and dispatching of goods (24/7 of possible)? Please mention the opening hours in comments |  |  | M | scrolling menu
2.4 Operational capacity of the warehouse |  |  |  |  | Response | Comments | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | What are the warehouse dimensions? Could you also share a layout of the warehouse, indicating cardinal directions? | M | M | M | Fill next cell with text |  | Cardinal points can help indicate where the hottest or warmest areas might be, with the south-facing part often being the warmest due to sun exposure.
2 | What is the size of the storage area in square meters (m²)? Is the space divided into multiple rooms? If yes, please describe how the space is partitioned. | M | M | M | Fill next cell with text
3 | What are the sizes of the receiving area and the dispatching area, in square meters (m²) and, if applicable, the number of pallet locations available? | M | M | M | Fill next cell with text
4 | What is the storage capacity for products requiring temperatures between 15-25°C (or 30°C) (in m2 and m3, and the number of pallets locations available ? | M | M | M | Fill next cell with text
5 | What is the storage capacity for products requiring temperatures between +2°C to +8°C, (in m2 and m3) , and the number of pallets locations available? | M | M | M | Fill next cell with text |  | To increase cold chain capacity, inflatable cold chain facilities may be a solution. Portable cold chain emergency solution you can visit Unicef supply division (https://supply.unicef.org) or UNHRDs (https://unhrd.org/) and private enterprises
6 | What is the storage capacity for products that require to be stored below -20°C (in m2 and m3, and number of pallets locations)? | M | M | M | Fill next cell with text
7 | Is there outdoor space available for storing containers? If yes, approximately how many containers can be accommodated? | M | M | M | scrolling menu
8 | Is there suitable land available outside for erecting temporary storage units? If yes, what would be the estimated size required? | M | M | M | scrolling menu
9 | Overall, is the storage capacity adequate for the volume of goods to be stored ? | M | M | M | scrolling menu
2.5 Civil engineering |  |  |  |  | Response | Comments | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | Are the walls in good condition (i.e., no heavy cracks, no signs of humidity, etc.)? | M | M | M | scrolling menu |  | It exists special paint to protect against moisture and humidity. Installing insulation panels may also be a solution.
2 | Is the roof in good condition (i.e., no signs of leakages)? | M | M | M | scrolling menu
3 | Is there adequate insulation for the roof and, if applicable, the walls (e.g., specific painting, insulation materials, double ceiling, etc.)? Please provide details. | M | M | M | scrolling menu |  | Light color paint (white for instance) is better to reflect the sunlight.
4 | Is the floor in good condition and easily cleanable? Please describe the materials used | M | M | M | scrolling menu |  | If the floor generates dust, it may be possible to place plastic sheeting on the floor (even it is not the perfect solution).
5 | Does the storage area sufficient protection from direct light? | M | M | M | scrolling menu |  | If there is direct light on the products, an easy fix is to paint the windows white or place wooden panels over the windows.
6 | Does the warehouse have adequate lightning system? | M | M | M | scrolling menu |  | Emergency light system (back-up) may be also installed.
7 | How many fire exits are within the warehouse? Are they in sufficient number and adequately positioned? | M | M | M | scrolling menu |  | Fire exits should remain accessible at all times, be properly maintained, and personnel should be trained on their use.
8 | How many entrance doors/cargo bays for goods? Are they well located to ensure an easy flow of products? Please describe the set-up. | M | M | M | scrolling menu |  | Ideally, the warehouse should have at least two doors or bays to avoid mixing up products. Temporary segregation of products can be achieved using movable devices, such as airport guidance barriers.
9 | Is the drainage system adequate to handle heavy rains? | M | M | M | scrolling menu
2.6 Utilities and equipment |  |  |  |  | Response | Comments | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | Does the warehouse have access to city power? Is it reliable? Please record the power capacity available in the contract (amperes)? | M | M | M | scrolling menu
2 | Is 3 phase supply available or easily connectable? | M | M | M | scrolling menu |  | 3 phase supply may be used for temperature controlled containers
3 | Is there a back-up of energy 24/7 (solar panels, batteries, etc.)? Please describe the set-up. | M | M | M | scrolling menu
4 | If any, has the generator sufficient power capacity? Insert KVA capacity. | M | M | M | scrolling menu
5 | Is there a fuel tank with reasonable capacity compared to the generator fuel consumption? | M | M | M | scrolling menu
6 | Is the overall electrical system in good conditions? Was it inspected recently? Please include a picture of the electrical panel | M | M | M | scrolling menu
7 | Does the warehouse have : |  |  |  | N/A
| - Adequate shelving/racking system ? Please describe |  | M | M | scrolling menu
| - Adequate ramps for offloading/loading products? | M | M | M | scrolling menu
| - Spare pallets? |  | M | M | scrolling menu
| - Forklifts in good conditions? Please describe |  | M | M | scrolling menu
| - Pallets movers in good conditions? Please describe |  | M | M | scrolling menu
| - Other handling equipment? Please describe |  | M | M | scrolling menu
8 | Does the warehouse have : |  |  |  | N/A
| - Running water? | M | M | M | scrolling menu
| - Water tank? | M | M | M | scrolling menu
| - Toilets? | M | M | M | scrolling menu
| - Showers? | M | M | M | scrolling menu
| - Changing rooms? | M | M | M | scrolling menu
| - facilities for guards? | M | M | M | scrolling menu
| - Access to food in the neighborhood? | M | M | M | scrolling menu
9 | Is internet connection available? Which type? | M | M | M | scrolling menu
10 | Does cellphone network work within the warehouse? | M | M | M | scrolling menu
11 | Does the warehouse have : |  |  |  | N/A
| - Adequate office space ? | M | M | M | scrolling menu
| - Adequate office furniture (desks, chairs, shelves etc.) ? |  |  | M | scrolling menu
| - Adequate number of recent computers ? |  |  | M | scrolling menu
| -Adequate computerized stock management systems ? |  |  | M | scrolling menu
2.7 Conclusion on the logistics assessment
Fill all cells and provide useful information or justification if required in the next cells
| Minimum requirements not met |  |  |  | 0%
| Minimum requirements partially met |  |  |  | 50%
| Minimum requirements met |  |  |  | 100%
| Not applicable |  |  |  | N/A
| Does the warehouse meet the minimum requirements for: |  |  |  | N/A | Comments
| - Storage capacity? | M | M | M | scrolling menu
| - Location and access of the warehouse? | M | M | M | scrolling menu
| - Civil engineering state? | M | M | M | scrolling menu
| - Utilities? | M | M | M | scrolling menu
| - Warehouse shelving and racking system? | M | M | M | scrolling menu
| -Handling equipment? | M | M | M | scrolling menu
| Do you have any other comments ? | M | M | M | Fill next cell with text

## c. GSDP assessment
3. GOOD STORAGE AND DISTRIBUTION PRACTICES RAPID ASSESSMENT
Fill all cells and provide useful information or justification if required in the next cells
| Not implemented |  |  |  | 0%
| Partially implemented |  |  |  | 50%
| Implemented |  |  |  | 100%
| Not applicable |  |  |  | N/A
Note : Modules 3.1 to 3.4 are linked to the assessment of an empty warehouse. Module 3.5 is to be completed only if cold chain products are stored. Additional modules from 3.6 onwards way also be used in case of an assessment of a logistics service provider (storage and eventually distribution services).
3.1 Organization of the warehouse |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | Are storage areas shielded from direct sunlight? | M | M | M | scrolling menu |  | Windows can be painted in white, wooden panels can also be installed.
2 | Are key zones well identified (reception, orders preparation, dispatch zone, quarantine, rejected products area)? |  | M | M | scrolling menu |  | Floor identification marks, labels on the walls or use of segregation devices (similar to airport guidance barriers) can help segregating the zones.
3 | Are the storage areas smoking and food free ? |  |  | M | scrolling menu |  | A good practice is to identify places for smoking and eating outside of the warehouse and put signs on doors/ walls.
4 | Are the storage areas clean? |  |  | M | scrolling menu |  | A good practice also is to have a dedicated and well identified space to store cleaning materials and equipment.
5 | Are cleaning plan and cleaning records (i.e. cleaning log) available and well maintained? |  |  | M | scrolling menu
6 | Is the area for receiving incoming goods sufficient large to handle usual size consignments? |  | M | M | scrolling menu |  | Receiving area is where you do your visual check. It should be sufficiently large to avoid mix up with the rest of the goods.
7 | Is the area for dispatching prepared orders sufficiently large to handle usual size consignments? |  | M | M | scrolling menu |  | This is to avoid mixing the orders/products. Each consignment needs to be clearly labelled.
8 | Are incoming and dispatched products sufficiently protected from the weather or excessive temperature? | M | M | M | scrolling menu |  | A roof should be installed at the warehouse doors, to protect products being up- of offloaded from the sun and the rain. It could be made in plastic or metal, and is usually at least 1m width.
9 | Is the product flow adequate, i.e. designed to avoid any mix-up of products (i.e. the products move from the receiving area to the storage and to the preparation / dispatch areas)? |  |  | M | scrolling menu |  | It is important to design the flow of goods, even in a empty warehouse. An unidirectional flow is preferred.
Score |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
3.2 Security, safety and pest control |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | Is the warehouse surrounded by protective fences or walls with adequate lighting to prevent unauthorized access to the compound? | M | M | M | scrolling menu
2 | Are security guards present within the compound 24 hours a day, 7 days a week? | M | M | M | scrolling menu
3 | Is there controlled access to storage areas to ensure that no unauthorized persons have access? | M | M | M | scrolling menu |  | A good practice is to change the locks in a new warehouse.
4 | Does the warehouse have adequate fire detection and firefighting equipment in place? Please describe the equipment available. | M | M | M | scrolling menu |  | Ensure that fire extinguishers are functional and that personnel are trained in their use. Additionally, consider placing sand buckets as an alternative firefighting measure, depending on the nature of the goods stored.
5 | Is there any signs of pest (faeces, smell, eaten products) in the warehouse? | M | M | M | scrolling menu |  | This is important because rodents(rats) are known to consume cardboard boxes as well as polypropylene, which is used for medical devices and intravenous fluids.
6 | Are adequate periodic pest control measures in place, such as rodent bait traps and insect light traps? |  |  | M | scrolling menu |  | To address this issue, it may be advisable to place traps outside the warehouse and near doors. Additionally, fumigation using approved methods, products, or companies can be considered.
Score |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
3.3 Storage conditions |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | What equipment is used to control temperature and humidity within the storage area (e.g., air-conditioners, ventilators, heat extractors, HVAC systems)? Do you believe this equipment is appropriate considering the key risks identified? | M | M | M | scrolling menu
2 | Does the warehouse have devices in place to monitor temperature and humidity, such as thermo-hygrometers, dataloggers, etc.? |  | M | M | scrolling menu |  | if not, dataloggers may be placed in different locations (at different shelves heights).
3 | If yes, for the previous question, are the devices used to record temperature (and relative humidity if required) adequately calibrated (i.e., range, traceable to national standards)? |  | M | M | scrolling menu |  | It is preferable to use WHO-prequalified devices (https://apps.who.int/immunization_standards/vaccine_quality/pqs_catalogue/categorypage.aspx?id_cat=35)
4 | Were there recent temperature and humidity mapping studies conducted ? |  |  | M | Fill next cell with text |  | This aims to define where the hottest and coolest locations in your warehouse are, and to define potential seasonal variations during the year. How to temperature map cold chain equipment and storage areas (second edition)https://www.who.int/publications/i/item/9789240042773
3 | Are the temperature and relative humidity in all storage areas monitored and recorded? Does the company maintain adequate temperature monitoring records? Please provide a copy (or take a photo) of the records from the last month. |  |  | M | scrolling menu |  | A good practice is to record temperatures at least twice a day, including weekends.
4 | What was the maximum temperature reached/recorded during the hot season? |  |  | M | Fill next cell with text |  | If temperatures are excessively high or low, you may need to insulate the doors with plastic PVC curtains or other suitable materials.
5 | What was the minimum temperature reached or recorded during the cold season? Is there any risk of products being frozen? |  |  | M | Fill next cell with text
6 | Does the temperature recorded respect the 15°C-25°C interval? |  |  | M | scrolling menu
7 | What is the maximum relative humidity reached/recorded? |  |  | M | Fill next cell with text |  | High relative humidity levels can be reduced using air-conditioning systems or dehumidifiers.
Score |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
3.4 Handling specific products |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
1 | Does the warehouse have a dedicated, locked, restricted access area (cupboard, room) to store controlled products (narcotics and psychotropics)? | M | M | M | scrolling menu |  | For storing a small amount of products, a simple cupboard with a lock may suffice. For larger storage needs, consider installing a metallic cage with a lock or using special devices designed for standard racking systems in the warehouse. This approach can also be used for storing expensive products.
2 | Does the warehouse have an dedicated area for hazardous products (corrosive, flammable products etc.) that is subject to appropriate additional safety and security measures? | M | M | M | scrolling menu |  | It is important to store hazardous products carefully. List the types of products (corrosive, flammable, etc.) and refer to the chart in the appendix to store them according to the recommendations. Local regulations should also be checked and followed.
3 | Does the warehouse have a locked, quarantine area to store products that are under quarantine (waiting for a quality decision)? | M | M | M | scrolling menu |  | A metallic cage with a lock could be used for storage. If necessary, it may be acceptable to use one cage for different purposes as long as the status of products is clearly labelled or identified (e.g., quarantined, rejected). Color codes such as painting in red, yellow, etc., could also be used for identification.
4 | Does the warehouse have a locked area for non-usable products (expired, rejected, damaged etc.)? | M | M | M | scrolling menu |  | IIf storage space is limited, non-usable products can be stored outside of the warehouse in a locked container, if available.If storage space is limited, non-usable products can be stored outside of the warehouse in a locked container, if available.
Score |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
Additional modules
3.5 Cold chain management |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
Module required ? (only if cold chain products are planned to be stored) |  |  |  |  | Yes | If NO, please write N/A in the following cells
1 | Is the cold chain facility/equipment functional? Describe please the equipment in place and their range and take a picture and insert it in section e. |  | M | M | scrolling menu |  | For refrigerators, regular maintenance is essential, including the removal of ice, verification of the condition of rubber seals, and cleaning the motor at the back to remove dust. In very dry climates, the sealing of rubber bands can be improved by applying Vaseline
2 | Does the cold chain equipment have in place system/devices to monitor the temperature (thermometers, dataloggers, etc.)? Are the devices calibrated? |  | M | M | scrolling menu |  | If your device is not calibrated, the temperature displayed may not accurately reflect the actual temperature inside your equipment. This could potentially cause a cold chain break. If there are no devices currently in place, it may be possible to install dataloggers or other types of monitoring tools in the equipment(s) to ensure accurate temperature monitoring.
3 | Were there recent temperature mapping studies conducted for the cold chain equipment? |  |  | M | Fill next cell with text |  | Refer to the WHO guidelines: https://www.who.int/publications/m/item/Annex-9-g-trs-961
4 | Is the temperature of all cold chain storage equipment monitored and recorded during storage, including on weekends? Does the company maintain adequate temperature monitoring records? Please provide a copy (or take a photo) of the records from the last month. |  |  | M | scrolling menu |  | A good practice is to maintain records at least twice a day, including weekends.
5 | Do the records demonstrate adequate storage conditions for products that require storage between +2°C to +8°C? |  |  | M | scrolling menu
6 | Do the records show adequate storage conditions for products that require to be store below -20°C? |  |  | M | scrolling menu
7 | Is there an energy backup procedure in place to ensure that equipment can maintain the required temperature (e.g., generator, solar panel, batteries, etc.)? Please describe. |  |  | M | scrolling menu
8 | Is there a contingency plan to ensure the products requiring cold chain are kept under adequate storage conditions? |  |  | M | scrolling menu
Score |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
3.6 Quality management system |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
Module required ? (only in case of 3PL assessment) |  |  |  |  | No | If NO, please write N/A in the following cells
1 | Is there a standard operating procedure (SOP) outlining the controls conducted on incoming products? This includes checking batch numbers, expiry dates, product integrity, and ensuring alignment of information on delivery notes/invoices with the products received. |  |  | M | scrolling menu
2 | Does the organization maintain adequate records of products received, including description, quantity, batch number, expiry date, supplier information, supplier's reference, and date of receipt? |  |  | M | scrolling menu
3 | Is there a standard operating procedure (SOP) for monitoring and recording temperature (and relative humidity when required), as well as actions in case of deviations in the storage areas? Is the SOP comprehensive, including defined limits, monitoring setup, and procedures for addressing deviations? |  |  | M | scrolling menu
4 | Is there a written standard operating procedure (SOP) in place to effectively and promptly recall products? |  |  | M | scrolling menu
5 | Are there SOPs available that describe how to receive cold chain shipments, store these products, and prepare cold chain consignments? Are these SOPs comprehensive? |  |  | M | scrolling menu
6 | Are maintenance activities for cold chain equipment and critical equipment (such as air-conditioners) conducted and documented with available records? |  |  | M | scrolling menu |  | Refer to cold chain section, question 1
Global rating (percentage of compliance) |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
3.7 Stock control and rotation |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
Module required ? (only in case of 3PL assessment) |  |  |  |  | No | If NO, please write N/A in the following cells
1 | Describe how stock control is performed (using for instance a computerized system, stock cards, bin cards) |  |  | M | Fill next cell with text
2 | Are batch numbers and expiry dates recorded in the stock management system (such as stock/bin cards or a computerized system)? |  |  | M | scrolling menu |  | To evaluate this, randomly select one or more products, conduct a physical count, and cross-verify the quantities and batch numbers in the stock management system.
3 | Are the first-expiry-first-out (FEFO) principle (or first-in-first-out [FIFO] in the absence of expiry dates) always adhered to? |  |  | M | scrolling menu |  | Select a product at random and verify its expiry date.
5 | Are expired products removed from sealed stock? Conduct random checks on some of the products to ensure compliance. |  |  | M | scrolling menu
Score |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
3.9 Dispatch and transport |  | Empty WH | Equipped WH | 3PL | Rating | Justification / additional information | Explanation and potential 'quick fixes' | Quick fix(es) that could be implemented | Proposed timelines (in weeks)
Module required ? (only in case of 3PL assessment) |  |  |  |  | No | If NO, please write N/A in the following cells
1 | Are cartons identified, prepared, and sealed to ensure the integrity of the products? |  |  | M | scrolling menu
2 | Are comprehensive dispatch records meticulously maintained to ensure complete product traceability, enabling swift recalls and investigation of counterfeit products? |  |  | M | scrolling menu
3 | Are cold chain products prepared and transported using appropriate equipment, monitoring devices, and, if necessary, an appropirate mix of ice/cool packs to maintain their integrity? |  |  | M | scrolling menu
Global rating (percentage of compliance) |  |  |  |  | #DIV/0! | automatic calculation
additional comments :
FOR INFORMATION PURPOSE ONLY : SOME GSDP AREAS SKIPPED (non exhaustive list)
GSDP guidelines section |  |  |  |  | Justifications
Section 6. Quality risk management |  | Quality risk management is an essential part of the GSDP, but the assessment is deemed too technical for logisticians not always familiar with the requirements of risk management
Section 7. Management review |  | Management review is not really required in emergency situations
Section 8. Complaints |  | Complaints may be received but the assessment in this tool may be too technical for logisticians
Section 9. Returned goods |  | Returned goods are probably not seen very often in emergency situations. Logisticians may not be sufficiently knowledgeable to well assess the management of returned goods.
Section 12.36 : Mapping studies |  | Assessment of mapping studies requires strong GSDP competencies.
Section 14 : Equipment |  | This section is mainly related to computerized system : For non GSDP and GXP specialist, assessment of this section may be difficult.
Section 15 : Qualification and validation |  | This is a very technical area that requires to be assessed by specialists.
Section 16 : Personnel |  | This section only applies if the warehouse is subcontracted with handling services. This is not usually the case.
Section 21 : Inspection |  | Dedicated section for NRA inspectors

## d. Conclusion
4. CONCLUSION OF WAREHOUSE ASSESSMENT
4.1 Rated warehouse assessment results
Administrative and logistics assessment
Storage capacity |  |  |  | scrolling menu
Location and access to the warehouse |  |  |  | scrolling menu
Civil engineering |  |  |  | scrolling menu
Utilities |  |  |  | scrolling menu
Warehouse shelving and racking systems |  |  |  | scrolling menu
Handling equipment |  |  |  | scrolling menu
Good Storage and Distribution Practices (GSDP) rapid assessment
Modules related to empty warehouse
3.1 Organization of the warehouse |  |  |  | #DIV/0!
3.2 Security, safety and pest control |  |  |  | #DIV/0!
3.3 Storage conditions |  |  |  | #DIV/0!
3.4 Handling specific products |  |  |  | #DIV/0!
Additional modules (please write N/A in the cell if not applicable)
3.5 Cold chain management* |  |  |  | #DIV/0!
3.6 Quality Management System* |  |  |  | #DIV/0!
3.7 Stock control and rotation* |  |  |  | #DIV/0!
3.8 Dispatch and transport* |  |  |  | #DIV/0!
Administrative and logistics score |  |  |  | #DIV/0!
GSDP score |  |  |  | #DIV/0!
* if #DIV/0! Still appears on sections that are not applicable, please delete the corresponding cells and write N/A in the cells.
4.2 Summary of weaknesses, key risks and potential remedial actions
Please describe the key weaknesses here, so that remedial actions can be implemented
#0 example | The storage of cold chain products is not satisfactory and may lead to cold chain breaks: the monitoring is not done on weekends and there is no energy back-up system in place.
| è | Implement back-up systems for all cold chain equipment with adequate monitoring system on weekends
#1
è
#2
è
#3
è
#4
è
#5
è
#5
è
#6
è
#7
è
4.3 Maturity levels (filled by technical staff)
Disclaimer:
This assessment of Good Storage of Distribution Practices is partial. Therefore, the purpose of Maturity Levels is here to guide decisions. A supplier or a warehouse rated as Level 3 or 4 does not mean that the compliance with GSDP guidelines is fully ensured : Only a full GSDP audit would be able to conclude about the compliance with GSDP.
Based on the organization criteria
Level 1 |  | O | INACEPTABLE LEVEL OF ADHERENCE WITH KEY GSDP PRINCIPLES & STORAGE CONDITIONS INADEQUATE No storage on any kind of health products, except if no other solutions exist and if strong risk mitigations measures are implemented. Decision should be taken by senior management team.
Comments
Level 2 |  | O | POOR LEVEL OF ADHERENCE WITH KEY GSDP PRINCIPLES Risk mitigation measures must be implemented (refer to key risks section)
Comments
Level 3 |  | O | GOOD LEVEL OF ADHERENCE WITH KEY GSDP PRINCIPLES, BUT STORAGE CONDITIONS FOR COLD CHAIN INADEQUATE (see disclaimer) 'Normal conditions' products may be stored, but temperature-sensitive products should be avoided to be stored there (or with mitigation measures fully implemented).
Comments
Level 4 |  | O | HIGH LEVEL OF ADHERENCE OF GSDP PRINCIPLES, INCLUDING FOR COLD CHAIN PRODUCTS (see disclaimer) May be suitable for long term storage of all type of medical products May be suitable for storage of temperature-sensitive products
Comments
4.4. Validity of the outcomes and planned reassessment
Validity end date of the assessment ?
Next reassessment planned ?

## e. Photos & Layout
Insert photos and layout (if available) of the warehouse if required (reduced format)

## Appendix
APPENDIX
Reference documents
WHO Good Storage and Distribution Practices
https://www.who.int/publications/m/item/trs-1025-annex-7
TRS 1025 - Annex 7: Good storage and distribution practices for medical products
Other key guidelines
guides to be added
Definitions
Key definitions are included in the WHO GSDP guidelines
Acronyms
3PL | Third Party Logistics provider
GPS | Global Positioning System
GSDP | Good Storage and Distribution Practices
HQ | Headquarter
NRA | National regulatory authority
SOP | Standard Operating Procedure
WH | Warehouse
Dangerous Goods and Combustible Liquids Storage Compatibility Chart
source : https://signbizgroup.com.au/shoponline/1468-large_default/dangerous-goods-storage-compatibility-chart.jpg

## "List" -do not remove- (hidden)
LIST
scrolling menu | scrolling menu | Not implemented | scrolling menu | X
Yes | Yes | Partially implemented | 0% | O
No | No | Implemented | 50%
No info | Partially |  | 100%
| N/A |  | N/A