## GWTPP1 D. medinensis in animals
Obj/Need | 1. Product use summary | Minimum | Ideal | Background, annotation re requirement risk, etc
Obj,3,5,7 | 1.1 Intended use | An in vitro laboratory-based test for the detection of analyte specific to D. medinensis infection in animals. | An in vitro point-of-care/-decision test for the detection of analyte specific to D. medinensis infection in animals. | The diagnostic landscape for guinea worm does not include a validated point-of-care/-decision test option. While some laboratory based tests have shown promising results and field-based collection of specimens can be conducted for transport to these labs, the development of a full point-of-care/-decision test that also meets the requirement for minimual training requirements will require significant time and effort going forward, hence this is a high-risk requirement. If another test other than a point of care test is available sampling ( including development of sampling methods) should not be delayed waiting for a point of care test.
Obj,5,6 | 1.2 Targeted population | All ages and genders of targeted dogs and cats in the affected geography. | All ages and genders of targeted dogs, cats and baboons in the affected geography. | NOTE: Use of the test for baboons is done "at risk" since the modeling of performance requirements for baboons is not as well understood.
1,2,4,7,10 | 1.3 Lowest infrastructure level | For a laboratory-based test, tests can be performed in central or peripheral testing facility. | For a point-of-care/-decision test, tests can be performed under "zero-infrastructure" conditions including but not limited to households, community health centers, and potentially outdoor conditions. | "Zero infrastructure" conditions are those where no prior requirements must be fulfilled for proper operation of the test.
1,2,4,7,12 | 1.4 Lowest level user | For a laboratory-based test, the test will be performed by trained laboratory technicians. | For point-of-care/-decision tests, the test will be performed by health personnel, community health workers, and community volunteers.
1,2,4,7,12 | 1.5 Training requirements | For a laboratory-based test, less than one week for trained laboratory technicians; testing job aid/instructions for use should be made available via the internet for download (i.e., are publicly available). | For a point-of-care/-decision test, one day or less for health personnel, community health workers, and community volunteers; testing job aid/instructions for use should be made available via the internet for download (i.e., are publicly available). | The diagnostic landscape for guinea worm does not include a validated point-of-care/-decision test option. While some laboratory based tests have shown promising results and field-based collection of specimens can be conducted for transport to these labs, the development of a full point-of-care/-decision test that also meets the requirement for minimual training requirements will require significant time and effort going forward, hence this is a high-risk requirement. NOTE: It is not a requirement to have internet access to obtain job aids/instructions for use since these must be included with the test itself (per Requirement 4.5), but rather that job aids/instructions for use should always be available via the internet.
Obj/Need | 2. Design | Minimum | Ideal | Annotation
1,2,4,7,12 | 2.1 Portability | For a laboratory-based test, specific portability and transport requirements should not be beyond those associated with standard laboratory equipment. | For a point-of-care/-decision test, highly portable with no specialized transport needs. | For "Ideal", "Portability" implies those characteristics described in 2.2-2.4 as well as no locational limitations to where the test can be performed. For both "Minimum" or "Ideal" conditions, the test may or may not utilize mobile phone-based technology. Testing location to suit pretty low resource setting like point of care. In addition, all samples could be collected and testing performed all together in one convenient location. Where there is no point of care test yet, laboratory based test should be used if available. Making use of both point of care and laboratory based tests is also fine as long as it brings added value to the programme decisions.
1,4,7,10,12 | 2.2 Instrument/power requirement | For a laboratory-based test, access to mains power is acceptable. | For a point-of-care/-decision test, self-contained kit operates independent of any mains power.
1,4,7,12 | 2.3 Water requirement | For a laboratory-based test, access to laboratory grade water is acceptable. | For a point-of-care/-decision test, self-contained kit operates independent of any water supply.
1,4,7,12 | 2.4 Maintenance and calibration | For a laboratory-based test, periodic maintenance and calibration of any instrumentation must be available in the countries, and should not be needed more frequently than once a year. | For a point-of-care/-decision test, no maintenance required (i.e., disposable) and no calibration required.
1,2,4,6,7,11 | 2.5 Sample type/collection | Venous blood sample, Peripheral whole blood,DBS, serum, ... | Venous blood sample, Peripheral whole blood,DBS | Sampling: needs ideally to be able to use samples that are collected with minimal invasiveness (e.g., small volumes of capillary blood) but tests carried out using venous blood samples are also acceptable. It may be necessary to have specialized training for sample collections.
1,2,4,7,11 | 2.6 Sample preparation/transfer device | · Sample preparation shall not exceed one preparation step prior to transfer of the sample to the testing device. · Transfer of the sample volume to the testing device shall occur by use of a predefined and provided single-use transfer device (e.g., inverted cup, disposable fixed-volume transfer pipet, etc.) | · Sample preparation shall not exceed transfer of the sample to the testing device. · Transfer of the sample volume to the testing device shall occur by use of a predefined and provided single-use transfer device (e.g., inverted cup, disposable fixed-volume transfer pipet, etc.)
1,2,4,6,7 | 2.7 Sample volume | 1-100 uL | 30-40 µL | "Sample volume" represents the volume introduced to the test device itself; the original collected sample volume may exceed this volume limit.
Obj,3,5,8,9 | 2.8 Target analyte | Biomarker(s) specific for detection of pre-patent and patent infections from D. medinensis. | Biomarker(s) specific for detection and differentiation of infection patency (e.g., pre-vs-post) from D. medinensis. | Analytes based on antigens or other biomarker types (e.g., some nucleic acid-based markers) will presumably provide more favorable half-life kinetics and thus enable more accurate determination of active infection from D. medinensis. For example, IgG-based serology biomarkers may possess kinetics that enable determination of prior infections from D. medinensis that may or may not still be active, hence their half-life kinetics would require evaluation to determine whether their presence diminishes post-patency. Differenciation between patent and pre-patent infection represent the ideal requirement. If existing Guinea worm biomarkers (e.g., serology-based, nucleic acid-based, etc) are further developed or if new biomarkers are discovered and proposed, their qualification and validation will require significant time and effort going forward. For this reason, this is a high-risk requirement.
2,4,7,8,9,11,12 | 2.9 Type of analysis | Qualitative | Same
1,4,7,9,12 | 2.10 Detection | For lab-based tests, may include instrument-based detection of a signal that provides unambiguous determination of a qualitative measure. | For point-of-care/-decision tests, results shall be a high contrast, clear result for naked eye; indoor and outdoor reading of a signal that provides an unambiguous qualitative result without the need for color discrimination. | NOTE: Requirement 2.1 "Portability" states that either laboratory-based tests or point-of-care/-decision tests may use mobile phone-based technologies, which in this case may be used to support signal detection.
3,4,7,8,9,10,12 | 2.11 Quality control | · Internal process control indicator (e.g., control line on an RDT, control well in an ELISA, etc) | · Internal process control indicator · Colorimetric or other indicator to identify excessive heat/humidity exposure of the test kits. | For further consideration (i.e., beyond TPP scope): definition of how endogenous positive controls should/would be used if they are to be included with a test, e.g., will there be a community-wide quality panel, centralized reporting of results, etc.
1,4,7,12 | 2.12 Supplies needed | All reagents and supplies included in test kit, with minimal import restrictions (e.g., animal-free, reagents free from toxicity levels that trigger import restrictions) | Same | Assumed that all materials are included, including sample collection devices.
1,2,4,7 | 2.13 Safety | Normal use does not create any additional hazards to the operator when observing Universal Blood Safety/Body Fluid precautions. | Same
Obj/Need | 3. Performance | Minimum | Ideal | Annotation
Obj,3,5,9 | 3.1 Species differentiation/detection | D. medinensis | Same
Obj,3,5,8,9 | 3.2 Diagnostic/clinical sensitivity | 80% | >90% | Test performance modeling was conducted to evaluate the impact of test sensitivity and specificity on guinea worm elimination within dog populations, where "elimination" was defined as the percentage of dog infections after 5 years of intervention going to zero. There are variables outside of test senstivity and specificity that must also be taken into consideration, which include dog owner behaviors (e.g., probability of tethering, duration of tethering), levels of abate application/percentage of bodies of water treated, as well as the testing strategy applied (e.g., percentage of dogs tested, sytematic-vs-random sampling, etc). Based on the models developed, the following minimum testing conditions and tethering behaviors will lead to elimination within five years for the "Minimum" and "Ideal" Se & Sp test requirements shown. FOR MINIMUM Se & Sp: 90-day tethering requires 100% of dogs tested monthly and 50% daily tethering probability 180-day tethering requires 50% of dogs tested monthly and 50% daily tethering probability 360-day tethering requires 25% of dogs tested monthly and 50% daily tethering probability FOR IDEAL Se & Sp: 90-day tethering requires 100% of dogs tested monthly and 50% daily tethering probability 180-day tethering requires 33% of dogs tested monthly and 50% daily tethering probability 360-day tethering requires 20% of dogs tested monthly and 50% daily tethering probability (NOTE: In all cases it is assumed a given population's water sources are subjected to minimum abate treatment of 50%. It is also assumed that testing occurs in a systematic, non-random manner whereby dogs are divided into cohorts and one cohort is tested each month, e.g., one cohort ® 100% of dogs tested monthly, two cohorts ® 50% of dogs tested monthly, three cohorts ® 33% of dogs tested monthly, etc.) . Certification will be drawing on multiple different types of evidence and lines of evidence. Certification process will be looking at the sensitivity and specificity of the surveillance system overall. Thus, for a probabilistic assessment of relative risk, potentially related to an assessment of the performance of interventions measure aimed at stopping transmission of GW, sensitivities lower than those specified could still be highly informative.
Obj,3,5,8,9 | 3.3 Diagnostic/clinical specificity (sensitivity and specificity requirements can be achieved by two tests used in combination or in sequence) | 90% | >95%
1,7,11 | 3.4 Time to results | £1 day to developed test result | £2 hours to developed test result | The diagnostic landscape for guinea worm does not include a validated point-of-care/-decision test option. While some laboratory based tests have shown promising results and field-based collection of specimens conducted for transport to these labs, for immediate decision making nd response, a point-of-care test is the ideal and prefered option.
1,7,8,9 | 3.5 Result stability | Developed test result remains stable for 0.5 hour | Developed test result remains stable for 24 hours or provide capacity to digitally upload test results, e.g., through a mobile phone application. | · Ability to interpret final test results in a manner not constrained by timed steps helps greatly in resource-constrained settings · NOTE: Having remote connectivity for transfer of point-of-care and lab-based test results would provide centralized data analysis (e.g., for programmatic evaluations, to support clinical studdies) as well as enabling long-term "result stability" (via digital storage) of test results.
1,7,11 | 3.6 Throughput | For laboratory-based tests, ≥ 100 tests per day per tester | For point-of-care/-decision tests, ≥ 10 tests per hour per tester | · "Throughput" represents how many tests can be run within an hour/day by one person and is separate from the time to results. · NOTE: These throughput requirements do not infer that testing must be batched in all circumstances. As just one example, an ELISA-based test should not require the running of all 96 wells within a plate, so designs should consider flexibility when running tests, e.g., having 8-well strips as part of a 96-well plate design.
1,4,7,10 | 3.7 Target shelf life/stability | ≥18 months, 4 C - 40 C, 75% RH; temperature excursion/prolonged deviation of 50 C for two weeks acceptable. | ≥24 months, 4 C - 40 C, 75% RH; temperature excursion/prolonged deviation of 50 C for two weeks acceptable. | · Shelf life/stability requirements relate to test kits (i.e., consumables, whether point-of-care tests or specimen collection kits for subsequent lab-based testing) that are used in the field. · Consumables used in a lab for lab-based testing procedures may require refrigeration, e.g., at 4 C for the same durations shown in "Minimum" and "Ideal".
1,4,7,9,11 | 3.8 Ease of use | For laboratory-based tests, no more than three manually timed steps, with ten or fewer user steps in total. Instructions for use should include diagram of method and results interpretation. Must be able to use in an unprotected and potentially harsh external environment (e.g., high temperature, high humidity -- see Requirement 3.10). | For point-of-care/-decision tests, no more than one manually timed step, with five or fewer user steps in total. Instructions for use should include diagram of method and results interpretation. Must be able to use in an unprotected and potentially harsh external environment (e.g., high temperature, high humidity -- see Requirement 3.10).
1,3,4,7,8,9 | 3.9 Ease of results interpretation | For laboratory-based tests, a definitively interpreted result is achieved by a suitable instrument that meets requirements defined in 2.10 "Minimum". | For point-of-care tests, a definitively interpreted result is achieved by meeting requirements defined in 2.10 "Ideal".
1,4,7,8,10,12 | 3.10 Operating temperature | 15 C -- 23 C, 75% RH | 15 C -- 40 C, 99% RH
Obj/Need | 4. Product Configuration | Minimum | Ideal | Annotation
1,10,12 | 4.1 Shipping conditions | For laboratory-based tests, conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent); cold-chain shipping at 4 C (i.e., common refrigeration) is acceptable for any test components/consumables used in the laboratory. | For point-of-care/-decision tests, conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent); no cold-chain shipping required.
1,4,7,10,12 | 4.2 Storage conditions | For laboratory-based tests, cold storage at 4 C (i.e., common refrigeration) is acceptable for any lab-based testing components/consum-ables. | For point-of-care/-decision tests, ambient storage conditions, 4 C - 40 C; no cold storage required.
1,4,7,12 | 4.3 Service and support | For laboratory-based tests, support must be available from manufacturer for any laboratory-based equipment and/or procedures. | For point-of-care/-decision tests, none required.
1,2,7,12 | 4.4 Waste disposal | Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. | · Can be disposed in regular waste (unregulated waste) and does not include material that cannot be disposed of in normal laboratory biohazard waste streams. · Daily throughput needs are considered in the packaging so as to minimize the need to dispose of extraneous product waste and/or disposal of unused tests (also refer to Requirement 5.1).
Obj,2,3,5,6,7,8,9 | 4.5 Labeling and instructions for use (IFUs) | · Compliance required per relevant CE Mark/IVDR requirements (or other SRA, e.g., 21 CFR 820) and WHO PQ guidance (see WHO TGS-5: Designing instructions for use for in vitro diagnostic medical devices) · Product Insert shall be available in relevant local language(s) and shall include Instructions for Use (IFUs) for the test. · Must provide accurate Safety Data Sheets (SDS) information on components that are potentially toxic. | Same. | WHO PQ label/IFU guidance should be applied, regardless of whether test is WHO PQed or not.
Obj/Need | 5. Product cost and channels | Minimum | Ideal | Annotation
4,12 | 5.1 Target pricing per sample tested | <US$2 | <US$1 | · Actual price details will depend on other factors separate from the test itself, which includes shipping, storage, quantities purchased, and other factors commonly encountered in national procurement for NTD programs. · Low-volume test usage in certain situations creates the need for packaging that allows one-at-a-time use of tests so as to not create significant price pressure from wasting of unused tests, e.g., tests are packaged for individual use as opposed to a larger number packaged together that must be used shortly after opening (also refer to Requirement 4.4)
1,4,7,10,12 | 5.2 Capital cost | None required. | Same
1,10 | 5.3 Product lead times | <12 weeks | Same | "Lead time" includes fulfillment and delivery of ordered tests to procurer. NOTE: May be adjusted to longer lead times provided shelf life is of sufficient duration, e.g., two years.
1 | 5.4 Target launch countries | WHO prioritized countries | Same
Obj,3,5,6,9 | 5.5 Product registration (i.e., substantiation to regulatory body of product claims) | · CE Mark/IVDR (or other SRA) as relevant · Any registration required for export from country of origin (e.g., KMFDS from Korea, etc) · WHO PQ, if required/applicable · Country-level registration, if required/ applicable for targeted countries | Same

## D. med. in animals Corr Matrix
| Objective | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| To detect D. medinensis infections for determination of transmission interruption in animals. | Testing location: Need to ideally be able to perform the test as point-of-care/-contact in potentially harsh environment (e.g., high humidity, high temperature, dirty), but simple lab test is acceptable. | Sampling: Need to use samples that are collected with minimal invasiveness (e.g., small volumes of capillary blood. Venous blood can also be considered) | Test target: Need to detect D. medinensis infections in targeted animals (such as dogs, cats, and baboons), and particularly pre-patent infections. | Equipment: Need to require no complex equipment, instrumentation or water sources. | Target population: Need to test all targeted animals in the affected geographies. | Ages tested: Need to be able to test all ages of animals. | Test simplicity: Need to be able to conduct test with a minimum of training and skills (e.g., by community health workers) | Performance: Need test sensitivity and specificity that meets the use case objective for transmission interruption in the animals populations tested. | Readout: Need to provide a clear, qualitative indication of D. medinensis infection being confirmed or excluded. | Storage/stability: Need to have no requirement for cold-chain shipping, storage or operation in intended geographies of use. However, laboratory based methods may requrire some cold chain shipping and storage. | Time to result: Need to generate test results in a rapid manner that is consistent with a point-of-care/point-of-decision use case, though laboratory-based tests may take longer. | Test price: Need to have a test price that is affordable to all GW programs using the test for its intended purpose.
1.1 Intended use | X | bar: 3; 5; 7
1.2 Targeted population | X | bar: 5 to 6
1.3 Lowest infrastructure level | bar: 1 to 2; 4; 7; 10
1.4 Lowest level user | bar: 1 to 2; 4; 7; 12
1.5 Training requirements | bar: 1 to 2; 4; 7; 12
2.1 Portability | bar: 1 to 2; 4; 7; 12
2.2 Instrument/power requirement | bar: 1; 4; 7; 10; 12
2.3 Water requirement | bar: 1; 4; 7; 12
2.4 Maintenance and calibration | bar: 1; 4; 7; 12
2.5 Sample type/collection | bar: 1 to 2; 4; 6 to 7; 11
2.6 Sample preparation/transfer device | bar: 1 to 2; 4; 7; 11
2.7 Sample volume | bar: 1 to 2; 4; 6 to 7
2.8 Target analyte | X | bar: 3; 5; 8 to 9
2.9 Type of analysis | bar: 2; 4; 7 to 9; 11 to 12
2.10 Detection | bar: 1; 4; 7; 9; 12
2.11 Quality control | bar: 3 to 4; 7 to 10; 12
2.12 Supplies needed | bar: 1; 4; 7; 12
2.13 Safety | bar: 1 to 2; 4; 7
3.1 Species differentiation/detection | X | bar: 3; 5; 9
3.2 Diagnostic/clinical sensitivity | X | bar: 3; 5; 8 to 9
3.3 Diagnostic/clinical specificity | X | bar: 3; 5; 8 to 9
3.4 Time to results | bar: 1; 7; 11
3.5 Result stability | bar: 1; 7 to 9
3.6 Throughput | bar: 1; 7; 11
3.7 Target shelf life/stability | bar: 1; 4; 7; 10
3.8 Ease of use | bar: 1; 4; 7; 9; 11
3.9 Ease of results interpretation | bar: 1; 3 to 4; 7 to 9
3.10 Operating temperature | bar: 1; 4; 7 to 8; 10; 12
4.1 Shipping conditions | bar: 1; 10; 12
4.2 Storage conditions | bar: 1; 4; 7; 10; 12
4.3 Service and support | bar: 1; 4; 7; 12
4.4 Waste disposal | bar: 1 to 2; 7; 12
4.5 Labeling | X | bar: 2 to 3; 5 to 9
5.1 Target pricing per test | bar: 4; 12
5.2 Capital cost | bar: 1; 4; 7; 10; 12
5.3 Product lead times | bar: 1; 10
5.4 Target launch countries | bar: 1
5.5 Product registration | X | bar: 3; 5 to 6; 9
27