## TPP Strongy M&E
Obj/Need | 1. Product use summary | Minimum | Ideal | Background, annotation and requirement risk, etc
Obj | 1.1 Intended use | An in vitro/ex vivo laboratory-based test for detecting analytes specific to Strongyloides to aid in monitoring and evaluating Strongyloides control efforts, including the disease mapping to initiate deworming. | An in vitro/ex vivo point-of-sampling test for detecting analytes specific to Strongyloides to aid in monitoring and evaluating Strongyloides control efforts, including the disease mapping to initiate deworming.
Obj,3,9 | 1.2 Targeted population | All age groups of individuals in the defined geographic area. | Same.
1,2,5,8,11 | 1.3 Lowest infrastructure level | For a laboratory-based test, tests can be performed in a subnational or national diagnostic testing laboratory. | For a point-of-sampling test, the test will be performed under "zero-infrastructure" conditions such as schools, community health centers, households, and outdoor conditions.
1,2,5,6,9,11 | 1.4 Lowest level user | For a laboratory-based test, the test will be performed by trained laboratory technicians. | For a point-of-sampling test, the test will be performed by trained health personnel and community health workers.
1,2,5,6,9,11 | 1.5 Training requirements | For a laboratory-based test, less than one week for trained laboratory technicians; testing job aid/instructions for use should be made available via the internet for download (i.e., are publicly available at all times). | For a point-of-sampling test, one day or less for trained health personnel and community health workers; testing job aid/instructions for use should be made available via the internet for download (i.e., are publicly available at all times). | NOTE: it is not a requirement to have internet access to obtain job aids/instructions for use since these must be included with the test itself (per Requirement 4.5), but rather that job aids/instructions for use should always be available via the internet.
Obj/Need | 2. Design | Minimum | Ideal | Annotation
2005-02-01 | 2.1 Portability | For a laboratory-based test, specific portability and transport requirements should not be beyond those associated with standard laboratory equipment typically available for testing clinical samples. | For a point-of-sampling test, highly portable with no specialized transport needs.
1.5 | 2.2 Instrument/power requirement | For a laboratory-based test, access to mains power is acceptable. | For a point-of-sampling test, self-contained kit operates independent of any mains power.
1,2,5,6 | 2.3 Water requirement | For a laboratory-based test, access to laboratory grade water is acceptable. | For a point-of-sampling test, self-contained kit operates independent of any water supply.
1,2,5,6 | 2.4 Maintenance and calibration | For a laboratory-based test, periodic maintenance and calibration of any instrumentation must be available in the countries, and should not be needed more frequently than once a year. | For a point-of-sampling test, no maintenance required (i.e., disposable) and no calibration required.
1,2,3,7,9,11 | 2.5 Sample type/collection | Test can be performed on stool, urine, or other validated sample types (e.g., peripheral blood) that are fresh (i.e., <12 hours at ambient conditions.) | Test can be performed on urine or other validated sample types (e.g., peripheral blood) without the need for stool, and have the ability to be performed on stored or preserved samples.
1,2,5,7,9 | 2.6 Sample preparation/transfer device | For a laboratory-based test, sample preparation should not exceed transfer of the specimen to a suitably designed sample transport device/medium (e.g., DBS), either directly or by use of a predefined and provided device (e.g., inverted cup, screen-and-template, disposable fixed-volume transfer pipet, etc; may also provide their own validated transfer device) for final processing at a laboratory. Any devices required are provided with the test kit. | For a point-of-sampling test, sample preparation should not exceed transfer of the specimen to the testing device, either directly or by use of a predefined and provided device (e.g., inverted cup, screen-and-template, disposable fixed-volume transfer pipet, etc.) that is provided with the test kit.
1,2,3,5,7,9,11 | 2.7 Sample quantity | Stool: <10 g Urine: <10 mL Blood/Serum/Plasma: <50 µL | Stool: <1 g Urine: <1 mL Blood/Serum/Plasma: <10 µL | The "sample quantity" is the amount required to run the test, hence specimen collection may require more than is shown. Also note that the quantities shown here are for both "Minimum" and "Ideal" sample type conditions (shown in Reqt 2.5).
Obj,4,10 | 2.8 Target analyte | Biomarker(s) specific for current active patent or recent (<18 months) infection from Strongyloides only. | Biomarker(s) specific for current active patent infection from Strongyloides only. | The 18 months for recent patent infections is based on current Ab-tests. After treatment Ab shortly drop below the diagnostic cut-off. Biomarkers based on antigens or other types (e.g., some nucleic acid-based markers) will presumably provide more favorable half-life kinetics and thus enable more accurate determination of currently active patent infection in all age groups. As there are no readily available markers known that meet these requirements and are capable of meeting the remainder of the TPP requirements, this is consider a high-risk requirement. NOTE: "Other biomarkers" may also include fecal eggs /larvae (e.g., as for Kato-Katz) provided the remaining requirements within the TPP can be met.
2,4,5,6,7,10 | 2.9 Type of analysis | Qualitative | Quantitative
1,2,5,6 | 2.10 Detection | · High contrast, clear result detected with unaided or aided eye (the latter may include/entail use of a laboratory-based test) where the signal provides a definitive "yes/no" result. | · High contrast, clear result detected with unaided eye; indoor and outdoor reading of a signal that provides a definitive "yes/no" result. · Provides indication of infection intensity with larvae count/non-categorical result. | Same as above.
2,4,6,10,12 | 2.11 Quality control | Exogenous process control indicator (e.g., control line on an RDT, control well in an ELISA, etc) | · Exogenous process control indicator (e.g., control line on an RDT, control well in an ELISA, etc) · Colorimetric or other indicator to identify excessive heat/humidity exposure of the test kits | For further consideration (i.e., beyond TPP scope): definition of how universal SOPs and endogenous positive controls should/would be used (e.g., if they are to be included with a test, will there be a community-wide proficiency panel, centralized reporting of results, etc) are subject to program-based QA strategies.
1,2,5,6,8,9 | 2.12 Supplies needed | All reagents and supplies included in test kit, with minimal import restrictions (e.g., animal-free) | Same
1,2,5,9,11 | 2.13 Safety | Standard self-collection vessel, swab or wipe for stool collection; standard self-collection vessel for urine sampling; auto-retracting sterile lancet for blood draw in the case of finger-stick sampling. Normal use does not create any additional hazards to the operator when observing Universal Blood Safety/Body Fluid precautions. | Same
Obj/Need | 3. Performance | Minimum | Ideal | Annotation
Obj,4,12 | 3.1 Species differentiation/detection | Strongyloides spp. only | Strongyloides stercoralis only
Obj,4,10 | 3.2 Diagnostic/clinical sensitivity | ⩾ 50% | ⩾ 50% | Overview of Dx performance modeling: · Modeled the impact of sensitivity (se) and specificity (sp) on the error (risk) to either unnecessarily start a deworming program strategy or not starting a control program where this would be recommended. · Have assumed that no more than 1,000 SAC were sampled across 10 schools (100 children per school). · Have assumed risk of <25% (minimum) or <10% (ideal) to mistakenly conclude that treatment must continue as before and a risk of <5% to mistakenly reduce treatment to a lower level of intervention when, in fact, PC should continue. · The sensitivity/specificity combinations shown are representative of "Minimum" and "Ideal" Se/Sp combinations that will provide sufficient decision making for this Use Case across a program prevalence threshold of 10%. It is important to note that this threshold represent the true underlying prevalence and not the observed prevalence. Assuming a true underlying prevalence for program decisions was essential to facilitate comparison across many different Se and Sp. Note that these values of Se and Sp apply for a school-based survey only. This is because data to determine the intra-cluster coefficient (the measure that reflects the variation in prevalence across clusters) was only availble for a school-based survey. For more details we refer Kazienga et al., under review (PLoS NTD; https://medrxiv.org/cgi/content/short/2024.12.12.24318904v1)
Obj,4,10 | 3.3 Diagnostic/clinical specificity | ⩾ 98% | ⩾ 98%
2007-02-01 | 3.4 Time to results | <24 hrs to develop test result | <1hour to develop test result | "Time to results" is defined as 'the time of receipt of the sample (in laboratory) to final delivery of dispatched of the report of said test'
2012-02-01 | 3.5 Result stability | Developed test result remains stable for 0.5 hour | Developed test result remains stable for at least 24 hours | Ability to interpret final test results in a manner not constrained by timed steps helps greatly in resource-constrained settings
2007-02-01 | 3.6 Throughput | For laboratory-based tests, ≥ 30 tests per day per tester; for field-based tests, ≥ 4 tests per hour per tester. | For laboratory-based tests, ≥ 100 tests per day per tester; For field-based tests, ≥ 10 tests per hour per tester | "Throughput" represents how many tests can be run within an hour by one person and is separate from the time to results. These values are based on key opinion leader feedback and are not substantiated by any cost analayses. However, the work by Kazienga et al., under review (PLoS NTD; https://medrxiv.org/cgi/content/short/2024.12.12.24318904v1) indicated that the impact of throughput on the total survey costs is relatively low compared to the impact of the diagnostic performance. In other words, improving the diagnostic performance will allow for lower total survey costs than increasing the sample throughput.
1,2,5,8,12 | 3.7 Target shelf life/stability | For a laboratory-based test, ≥18 months at 2 °C - 10 °C (via cold-chain storage). | ≥24 months, 2°C - 40 °C, 50% RH with no cold chain required; temperature excursion/prolonged deviation of 50 °C for two weeks should be tolerable i.e., (still produce accurate results).
1,2,5,7 | 3.8 Ease of use | · One timed step; ten or fewer user steps, instructions for use should include diagram of method and results interpretation. · If a point-of-sampling test, it must be able to be used in an unprotected external environment. | · One timed step; five or fewer user steps, instructions for use should include diagram of method and results interpretation. · If a point-of-sampling test, it must be able to be used in an unprotected external environment.
2005-02-01 | 3.9 Ease of results interpretation | · Interpreted by unaided or aided eye (the latter may include/entail use of a laboratory-based test) · May require discrimination of one color from another | · Interpreted by unaided eye · Does not require discrimination of one color from another
1,2,5,6,8 | 3.10 Operating temperature | 15 °C - 40 °C, 75% RH | Same
Obj/Need | 4. Product Configuration | Minimum | Ideal | Annotation
2008-06-01 | 4.1 Shipping conditions | · Conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent) · For a laboratory-based test, cold-chain shipping is acceptable. | Conformance to applicable requirements of ASTM D4169-05 and ISO 11607-1:2006 (or equivalent) For point-of-sampling test, no cold-chain shipping should be required.
1,2,5,6,8 | 4.2 Storage conditions | For laboratory-based tests, 2 C - 10 C cold storage acceptable. | Ambient storage conditions, 2 C - 40 C, 75% RH; no cold storage required
1,2,5,6 | 4.3 Service and support | For laboratory-based tests, support must be available from manufacturer for any lab-based equipment and/or procedures. | None required.
1,2,6,9,11 | 4.4 Waste disposal | Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. | · Does not include material that cannot be disposed of in normal laboratory biohazard waste streams. · Daily throughput needs are considered in the packaging so as to minimize package-related waste.
2.1 | 4.5 Labeling and instructions for use (IFUs) | As per WHO DTAG-defined requirements | Compliance required per relevant CE Mark/IVDR requirements (or other SRA, e.g. 21 CRF 820) and WHO PQ guidance (see WHO TGS-5: Designing instructions for use for in vitro diagnostic medical devices); Product insert shall be available in relevant local language(s) and shall include instructions for use (IFUs) for the test. Must provide accurate MSDS information on components that are potentially toxic.
Obj/Need | 5. Product cost and channels | Minimum | Ideal | Annotation
5.6 | 5.1 Target pricing per test | <US$6 | <US$2 | Price shown is sales price (i.e., is NOT COGS) and excludes any shipping costs. Actual price details to be captured if it can be estimated reasonably, as it will depend on various factors. "Minimum" is based on key opinion leader (KOL) feedback. "Ideal" is based on a simulation study indicating the maximum cost when a point-of-care test (sp/se = 92%/60%; 84%/80%; 78/90%; 74%/96%; 72%/100%) was applied when 1,000 children were screened across 10 schools (100 children per school). The "Minimum" cost requirement may enable higher pricing that that shown if the test provides greater cost-effectiveness to the program as a whole and thus provides justification for a higher price.
2006-05-01 | 5.2 Capital cost | For laboratory-based tests, capital costs should not exceed US$5,000. For point-of-sampling tests, capital costs are limited to a device to support reading the test result. | For point-of-sampling tests, no capital costs required | Capital cost reflects pricing for unused microtiter plate reader (absorbance, colorimetry), but would be equally applicable to other devices. NOTE: This assumes basic laboratory infrastructure, which is typically available for testing clinical samples, already exists. Costs to establish a laboratory de novo will require considerable additional cost not reflected in this document.
1.3 | 5.3 Product lead times | <6 weeks | <4 weeks | "Lead time" includes fulfillment and delivery of ordered tests kits to procurer, and does not include lead times associated with additional equipment that may be needed for laboratory-based tests. NOTE: May be adjusted to longer lead times provided test kits' shelf life is of sufficient duration, e.g., two years.
Obj,4 | 5.4 Target launch countries | WHO prioritized countries | Same
Obj,2,4 | 5.5 Product registration (i.e., substantiation to regulatory body of product claims) | · CE/IVDR · Any registration required for export from country of origin (e.g., KFDA from Korea, etc) · WHO PQ (if required/applicable) · Country-level registration (if required/applicable for target countries) | Same | Need to confirm that WHO PQ will process NTD Dx dossiers
Note on E15: Antibodies are not included in this comment. Doesn´t it apply to them? -Alejandro K BL: They are now
Note on E25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I did not accept the addition of ‘Minimum requirement for’ suggested by RN

## Strongy M&E - Corr Matrix
| Obj | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Objective: To determine the impact of control efforts on STH prevalence and intensity within a population. | Testing location: Need to be able to conduct testing at point-of-sampling. | Test simplicity: Need to be able to conduct testing with a minimum of training or skills. | Ages tested: Need to be able to conduct testing in all age groups | Prevalence measurement: Need to be able to detect 2% prevalence of all infection intensities for STH species | Ease of access/implementation: Need to have minimal-to-no barriers to routine access for testing, e.g., no need for significant infrastructure | Test price: Need to be able to provide tests at a price where total costs are preferable to existing standard test (e.g., Kato-Katz) | Time to result: Need to generate test results in 0.5 hours or less (separate from sample collection and storage) | Cold-chain: Need to have no requirement for cold-chain shipping, storage or operation. | Sample type: Need to conduct analyses on stool, urine, and other samples. | Performance: Need to have sensitivity and specificity requirements met that enable prevalence and intensity determinations of sufficient accuracy | Safety: Need to conduct tests with no need for specialized and/or complex safety equipment, facilities, or disposal capabilities. | Quality: Need to have a means to ensure quality of individual tests.
1.1 Intended use | X
1.2 Targeted population | X | bar: 3; 9
1.3 Lowest infrastructure level | bar: 1 to 2; 5; 8; 11
1.4 Lowest level user | bar: 1 to 2; 5 to 6; 9; 11
1.5 Training requirements | bar: 1 to 2; 5 to 6; 9; 11
2.1 Portability | bar: 1 to 2; 5
2.2 Instrument/power requirement | bar: 1; 5
2.3 Water requirement | bar: 1 to 2; 5 to 6
2.4 Maintenance and calibration | bar: 1 to 2; 5 to 6
2.5 Sample type/collection | bar: 1 to 3; 7; 9; 11
2.6 Sample preparation/transfer device | bar: 1 to 2; 5; 7; 9
2.7 Sample volume | bar: 1 to 3; 5; 7; 9; 11
2.8 Target analyte | X | bar: 4; 10
2.9 Type of analysis | bar: 2; 4 to 7; 10
2.10 Detection | bar: 1 to 2; 5 to 6
2.11 Quality control | bar: 2; 4; 6; 10; 12
2.12 Supplies needed | bar: 1 to 2; 5 to 6; 8 to 9
2.13 Safety | bar: 1 to 2; 5; 9; 11
3.1 Species differentiation/detection | X | bar: 4; 12
3.2 Diagnostic/clinical sensitivity | X | bar: 4; 10
3.3 Diagnostic/clinical specificity | X | bar: 4; 10
3.4 Time to results | bar: 1 to 2; 7
3.5 Result stability | bar: 1 to 2; 12
3.6 Throughput | bar: 1 to 2; 7
3.7 Target shelf life/stability | bar: 1 to 2; 5; 8; 12
3.8 Ease of use | bar: 1 to 2; 5; 7
3.9 Ease of results interpretation | bar: 1 to 2; 5
3.10 Operating temperature | bar: 1 to 2; 5 to 6; 8
4.1 Shipping conditions | bar: 1; 6; 8
4.2 Storage conditions | bar: 1 to 2; 5 to 6; 8
4.3 Service and support | bar: 1 to 2; 5 to 6
4.4 Waste disposal | bar: 1 to 2; 6; 9; 11
4.5 Labeling | bar: 2; 10
5.1 Target pricing per test | bar: 5 to 6
5.2 Capital cost | bar: 1; 5 to 6
5.3 Product lead times | bar: 1; 3
5.4 Target launch countries | X | bar: 4
5.5 Product registration | X | bar: 2; 4