## Notes
DHS Height standardization tool
Notes on the use of the height/length standardization template
Sheets
Worksheet:
1 | Replace Name A to Name J in column A rows 6 to 15 in the Worksheet with the names of the measurers to be standardized. The template allows for up to 12 measurers, but WHO recommends no more than 10 be standardized at a time. Set unused names to blank. Do not delete rows.
2 | Replace Child 1 to Child 10 with names of the children. Ten children are recommended for the standardization, but the template allows for less than 10 children and up to 12 children. The WHO recommends a minimum of ten children to calculate precision and accuracy. Set unused columns to blank child names. Do not delete columns.
3 | Replace "Expert" in column A row 5 with the name of the expert measurer against whom the measurers are being standardized.
4 | Record the measurements for the expert for round 1 of measurements in cells B5 to M5.
5 | Record the measurements for the measurers for round 1 of measurements in cells B6 to M17.
6 | Record the measurements for the expert for round 2 of measurements in cells B21 to M21.
7 | Record the measurements for the measurers for round 2 of measurements in cells B22 to M33.
Estimates of precision and accuracy will be presented further down in the Worksheet.
Accuracy:
1 | Select a particular child to see the accuracy of first and second round measurements for that child by the expert and the measurers.
If the "Expert" does not have an acceptable precision (as seen in the results sheet) do not use accuracy sheet.
Precision:
Displays the precision of each measurer for each child. No input needed on this sheet.
Results:
Presents the accuracy and precision estimates for each measurer and whether they passed or failed the standardization. No input needed on this sheet.
If the "Expert" does not have an acceptable precision, measurers results will only be presented for precision and not for accuracy.
1 | Review the individual results of each measurer and if the measurer failed precision or accuracy manually enter potential reason(s) they failed (e.g. recording error, consistently measuring higher height values than the expert, correcttly measuring children standing-up but not lying down, etc)
Work Accuracy:
Working spreadsheet used for the Accuracy sheet. Need to filter the names in column A - see immediately below.
1 | Select the filter in cell A3, and once selected click OK to display only the names of the measurers included, and to exclude the blank rows.
Work Precision:
Working spreadsheet used for the Precision sheet. No input needed on this sheet.
Tool developed Febuary 27, 2019
Developed by The DHS Program

## Worksheet
DHS Height standardization tool
Measurement of length/height (in cm)
Measurement round 1
| Child 1 | Child 2 | Child 3 | Child 4 | Child 5 | Child 6 | Child 7 | Child 8 | Child 9 | Child 10
Expert
Name A
Name B
Name C
Name D
Name E
Name F
Name G
Name H
Name I
Name J
Measurement round 2
| Child 1 | Child 2 | Child 3 | Child 4 | Child 5 | Child 6 | Child 7 | Child 8 | Child 9 | Child 10
Expert
Name A
Name B
Name C
Name D
Name E
Name F
Name G
Name H
Name I
Name J
| Child 1 | Child 2 | Child 3 | Child 4 | Child 5 | Child 6 | Child 7 | Child 8 | Child 9 | Child 10
Expert
Mean
Difference in measurement 1 and 2
| Child 1 | Child 2 | Child 3 | Child 4 | Child 5 | Child 6 | Child 7 | Child 8 | Child 9 | Child 10 | Precision
Expert
Name A
Name B
Name C
Name D
Name E
Name F
Name G
Name H
Name I
Name J
Precision
Difference in measurement from expert
| Child 1 | Child 2 | Child 3 | Child 4 | Child 5 | Child 6 | Child 7 | Child 8 | Child 9 | Child 10 | Accuracy
Expert
Name A
Name B
Name C
Name D
Name E
Name F
Name G
Name H
Name I
Name J
Accuracy

## Accuracy
Accuracy
Choose a child's name:
Child 1

## Results
Results
| Pass/Fail | Precision | Accuracy | Reason
Expert
Name A
Name B
Name C
Name D
Name E
Name F
Name G
Name H
Name I
Name J
Average |  | #DIV/0!
Pass/Fail | < | 0.6 | 0.8
Pass/Fail (expert) | < | 0.4
Note: Equation used to determine pass/fail for precision and accuracy
Precision=2*TEM
Accuracy=2.8*TEM

## Work Accuracy
Accuracy
| Child | Child 1
Name | Measurement 1 | Measurement 2 | offset
Name A | 0 | 0 | 3
Name B | 0 | 0 | 4
Name C | 0 | 0 | 5
Name D | 0 | 0 | 6
Name E | 0 | 0 | 7
Name F | 0 | 0 | 8
Name G | 0 | 0 | 9
Name H | 0 | 0 | 10
Name I | 0 | 0 | 11
Name J | 0 | 0 | 12
| 0 |  | 13
| 0 |  | 14
0 | 0 |  | True value | 0 | 0
0.5 | 0
0 | 1 |  | True value ± 1
0.5 | 1 |  | 1
0 | -1 |  | True value -
0.5 | -1
0 |  |  | Mean
0.5
0 | #VALUE! |  | Mean ±
0.5 | #VALUE! |  | 1
0 | #VALUE! |  | Mean -
0.5 | #VALUE!
Click on filter in column A and just click OK to re-filter for correct number of measurers

## Work Precision
Precision
Name | Child 1 | Child 2 | Child 3 | Child 4 | Child 5 | Child 6 | Child 7 | Child 8 | Child 9 | Child 10
Expert
Name A
Name B
Name C
Name D
Name E
Name F
Name G
Name H
Name I
Name J
Name | Expert | Name A | Name B | Name C | Name D | Name E | Name F | Name G | Name H | Name I | Name J | Target | 1
Child 1 | [11 empty] | 1 | bar: Child 1
Child 2 | [11 empty] | 1 | bar: Child 1
Child 3 | [11 empty] | 1 | bar: Child 1
Child 4 | [11 empty] | 1 | bar: Child 1
Child 5 | [11 empty] | 1 | bar: Child 1
Child 6 | [11 empty] | 1 | bar: Child 1
Child 7 | [11 empty] | 1 | bar: Child 1
Child 8 | [11 empty] | 1 | bar: Child 1
Child 9 | [11 empty] | 1 | bar: Child 1
Child 10 | [11 empty] | 1 | bar: Child 1
1 | bar: Child 1
1 | bar: Child 1
Click on filter in column A and just click OK to re-filter for correct number of measurers