## Introduction
Sustainable Development Goal 6 Monitoring
6.3.1 Safely Treated Household Wastewater
Azerbaijan
2020 Country Estimate
Safely Treated Household Wastewater: 57%
Introduction and methods
Guidance
Data, calculations, and results
Part A: Household wastewater generated
Part B: Household wastewater generated by sanitation facility
Part C: Household wastewater management chain
Part D: Country estimates
Data summary
Additional data
IN HOUSEHOLDS
IN HOUSEHOLDS

## Guidance
SDG Indicator 6.3 aims to, by 2030, “improve water quality by reducing pollution, eliminating dumping and minimizing release of hazardous chemicals and materials, halving the proportion of untreated wastewater and substantially increasing recycling and safe reuse globally”. Ensuring ambient water quality is essential to protecting ecosystem and human health, and can be achieved by significantly reducing or eliminating different streams of pollution discharged into water bodies. The main sources of pollution include wastewater from households, commercial establishments and industries (point sources), as well as run-off from urban and agricultural land (non-point sources).
SDG Indicator 6.3.1 aims to measure and track over time the percentage of wastewater flows from households and industrial premises that are safely treated in compliance with relevant national or local standards. The World Health Organization (WHO) and UN-Habitat serve as the custodian agencies for household and total/industrial components of Indicator 6.3.1, respectively, and are responsible for periodic data compilation and reporting. The overall indicator for 6.3.1 is reported for total wastewater (all point sources combined), while statistics on industrial and household wastewater flows are presented as complementary data series.
Figure 1: Household wastewater management chain
The household wastewater management chain (Figure 1) is used to conceptualise the various stages of household wastewater flows - from generation at the household to collection at treatment facilities, treatment levels at those facilities, and discharge to receiving water bodies. The chain is divided into three wastewater streams, representing wastewater generated by households with: 1) sewer connections; 2) septic tank connections; and 3) all other types of sanitation. Each node of the chain is represented by a variable (as identified in square brackets in Figure 1) with a proportion feeding into the 'not safely treated' fraction and the remaining proportion continuing to the next node (as indicated by the arrows in Figure 1). Wastewater can be considered collected when it reaches a wastewater treatment facility. For the purposes of the estimations, wastewater treatment facilities include treatment plants (for sewer wastewater or emptied and delivered faecal sludge from septic tanks) or on-site treatment systems (such as a functional septic tank system with leach field). Wastewater flows from households with septic tanks are characterised by where faecal sludge (which accumulates over time inside the tank) has resided - specifically, whether it has been transferred off-site (2a; delivered to a wastewater treatment plant) or remains on-site (2b; in the tank unemptied, or emptied and buried on-site). Wastewater flows collected at wastewater treatment plants (from either sewers or faecal sludge from septic tanks) can be considered safely treated if they are treated by at least secondary level processes (associated with biological removal technologies) or if they meet effluent discharge standards. Wastewater flows from septic tanks may also be considered safely treated if faecal sludge remains on-site. Wastewater flows from households without connections to piped sewers or septic tanks (such as those that practice open defecation or use pit latrines) are not eligible to be classified as collected at treatment facilities nor safely treated.
Sewer wastewater may not always be collected at wastewater treatment plants, particularly if it is instead directly discharged into receiving water bodies or if treatment plants at the end-of-pipe are not operational. Flows that have been collected at treatment plants may not always be safely treated, particularly if some flows bypasses treatment processes, if the system is functioning over capacity, if discharges fail to meet effluent standards, or if only primary treatment processes (associated physical removal of contaminates only) are employed. Septic tank wastewater may not always be contained, particularly if tanks are not correctly installed, are not well functioning, or have not been maintained. Septic tank wastewater may also not be collected if emptied faecal sludge is disposed of unsafely.
For many countries, nationally-representative data reported by official agencies are not always measured or publicly available for each of the variables of the household wastewater management chain. As a result, WHO has strategically employed a set of assumptions to fill-in data gaps. However, country estimates (proportion of household wastewater safely treated) are only calculated when country-level calculations are not overly dependent on assumptions (see Methodological Note for further detail).
This file is part of a global update of Indicator 6.3.1 published in 2021 and is a supplement to the indicator report available here (<link>) and a methodological note (where additional details can be found). Data have been compiled from global databanks and directly from country-level agencies and are presented alongside their respective sources and attributes in the Excel worksheets that follow. Calculations related to the computation of the proportion of household wastewater safely treated are also presented.

## A- Total generated
Part A: Estimation of total generated household wastewater (Azerbaijan, 2020)
Population [1000s] |  |  | Water supply type by population [%] | [5 empty] | Estimation of domestic water use | [8 empty] | Estimation of total generated household wastewater
|  |  | On-premises* water supply |  |  | Off-premises* water supply |  |  | On-premises* water supply [litres/person/day] |  |  | Off-premises* water supply [litres/person/day] |  |  | Total domestic water use [million m3/year] [1] x [2] x [4] + [1] x [3] x [5] |  |  | Proportion of domestic water use converted into generated wastewater [%] |  |  | Total generated household wastewater [million m3/year] [6] x [7]
10139.1748 | E | [1] | 90.44% | E | [2] | 9.562% | E | [3] | 85.6422 | R | [4] | 20 | A | [5] | 293.7148 | C | [6] | 80% | A | [7] | 234.9718 | C | [8]
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics
* - On/off-premises refering to the location of the primary water supply

## B- Generated by san facility
Part B: Estimation of generated household wastewater by sanitation facility type (Azerbaijan, 2020)
Sanitation facility coverage |  |  |  | Estimated household wastewater generated by sanitation facility type
Type of sanitation facility | Proportion of population [%] |  |  | Volume [million m3/year] |  |  | Proportion by volume [%]
Stream 1: Piped sewers | 58.08% | E | [9] | 147.2577 | C | [14] | 62.67% | C | [14] / [8]
Stream 2: Septic tanks | 4.979% | E | [10] | 12.6255 | C | [15] | 5.373% | C | [15] / [8]
Other improved facilities | 35.76% | E | [11] | 74.3882 | C | [16] | 31.66% | C | [16] / [8]
Unimproved facilities | 1.097% | E | [12] | 0.64976 | C | [17] | 0.2765% | C | [17] / [8]
Open defecation | 0.08571% | E | [13] | 0.05075 | C | [18] | 0.0216% | C | [18] / [8]
|  |  | TOTAL: | 234.9718 | C | [8] | 100% | C
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics

## C- WW management chain
Part C: Household wastewater management chain (Azerbaijan, 2020)
Household wastewater stream | Generated household wastewater | [5 empty] | Proportion of household wastewater [X...] in each stream [%]
| Volume [million m3/year] |  |  | Proportion by volume [%] |  |  | [...Contained] |  |  | [...Emptied and buried onsite] |  |  | [...Emptied and discharged locally] |  |  | [...Emptied and removed offsite] |  |  | [...Not emptied] |  |  | […Collected at treatment plants] |  |  | […Collected that has been safely treated at treatment plants]
Stream 1: Piped sewer wastewater flows | 147.2577 | C | [14] | 62.67% | C | [14] / [8] | [15 empty] | 95.5% | R | [19] | 91.6% | R | [20]
Stream 2a: Septic tank wastewater flows (off-site) | 12.6255 | C | [15] | 5.373% | C | [15] / [8] | 50% | A | [22] |  |  |  | 0% | A | [24] | 50% | A | [25] |  |  |  | 100% | A | [27] | 91.6% | A | [28]
Stream 2b: Septic tank wastewater flows (on-site) | 12.6255 | C | [15] | 5.373% | C | [15] / [8] | 50% | A | [22] | 0% | A | [23] | [6 empty] | 50% | A | [26]
Is the proportion of sewer wastewater safely treated at treatment plants [20] based on compliance (with discharge standards) or technology (at least secondary treatment)?
Secondary or higher treatment technologies
Are data sufficient to make a country estimate?
Yes, since the volume of sewer wastewater generated is greater than the volume of septic tank wastewater generated, and data on sewer wastewater treatment performance [20] are reported
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics

## D- Country estimates
Part D: Country estimates for safely treated household wastewater (Azerbaijan, 2020)
|  | Volume (million m3/year) |  |  | Proportion by total volume generated (%) |  |  | Proportion by volume generated in wastewater stream (%)
Estimated household wastewater generated | Stream 1: Households connected to sewers | 147.2577 | C | [14] | 62.67% | C | [14] / [8] | 100% | C | [14] / [14]
| Stream 2: Households connected to septic tanks | 12.6255 | C | [15] | 5.373% | C | [15] / [8] | 100% | C | [15] / [15]
| Households using all other types of sanitation | 75.0887 | C | [16] + [17] + [18] | 31.96% | C | { [16] + [17] + [18] } / [8] | 100% | C | { [16] + [17] + [18] } / { [16] + [17] + [18] }
| Total generated | 234.9718 | C | [8] = [14] + [15] + [16] + [17] + [18] | 100% | C | [8] / [8] | - |  | -
Estimated household wastewater collected at treatment facilities | Stream 1: Collected from piped sewers at wastewater treatment plants | 140.6311 | C | [29] = [14] x [19] | 59.85% | C | [29] / [8] | 95.5% | C | [29] / [14]
| Stream 2a: Wastewater collected at septic tanks and faecal sludge at wastewater treatment plants (off-site) | 3.1564 | C | [30] = [15] x [22] x [25] x [27] | 1.343% | C | [30] / [8] | 25% | C | [30] / [15]
| Stream 2b: Wastewater collected at septic tanks and faecal sludge at on-site treatment (on-site) | 3.1564 | C | [31] = [15] x [22] x ([23] + [26]) | 1.343% | C | [31] / [8] | 25% | C | [31] / [15]
| Total collected | 146.9438 | C | [32] = [29] + [30] + [31] | 62.54% | C | [32] / [8] | - |  | -
Estimated household wastewater safely treated | Stream 1: Safely treated from piped sewers at wastewater treatment plants | 128.8181 | C | [33] = [29] x [20] | 54.82% | C | [37] = [33] / [8] | 87.48% | C | [33] / [14]
| Stream 2a: Wastewater safely treated at septic tanks and faecal sludge at wastewater treatment plants (off-site) | 2.8912 | C | [34] = [30] x [28] | 1.23% | C | [38] = [34] / [8] | 22.9% | C | [34] / [15]
| Stream 2b: Wastewater safely treated at septic tanks and faecal sludge at on-site treatment (on-site) | 3.1564 | C | [35] = [31] x 100% | 1.343% | C | [39] = [35] / [8] | 25% | C | [35] / [15]
| Total safely treated | 134.8657 | C | [36] = [33] + [34] + [35] | COUNTRY ESTIMATE (SDG 6.3.1): 57.4% | C | [40] = [36] / [8] | - |  | -
| Sufficient data to produce a country estimate? | Yes, since the volume of sewer wastewater generated is greater than the volume of septic tank wastewater generated, and data on sewer wastewater treatment performance [20] are reported
Notes: | [variable numbers shown in square brackets - see 'Data summary' worksheet for additional details]
A - Assumption (see methodological note for details)
C - Calculated value
E - Estimated value based on official national statistics
R - Reported value from official national statistics

## Data summary
Country ID | Country/territory name | Variable ID | Variable name | Value | Units | Data type | Year | Data source | Notes
AZE | Azerbaijan | 1 | Population | 10139.1748 | Population (1000s) | E | 2020 | 2019 Revision of World Population Prospects
AZE | Azerbaijan | 2 | Population with water on premises | 90.44% | Percentage | E | 2020 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 3 | Population with water off premises | 9.562% | Percentage | E | 2020 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 4 | Domestic water use (water supply on-premises) | 85.6422 | litres/person/day | R | 2019 | State Statistical Committee of the Republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en
AZE | Azerbaijan | 5 | Domestic water use (water supply off-premises) | 20 | litres/person/day | A |  | Default assumption
AZE | Azerbaijan | 6 | Total domestic water use | 293.7148 | million m3/year | C
AZE | Azerbaijan | 7 | Proportion of domestic water use converted into generated wastewater | 80% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 8 | Total generated household wastewater | 234.9718 | million m3/year | C
AZE | Azerbaijan | 9 | Proportion of the population living in households connected to piped sewers | 58.08% | Percentage | E | 2019 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 10 | Proportion of the population living in households connected to septic tanks | 4.979% | Percentage | E | 2019 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 11 | Proportion of the population living in households with access to other improved sanitation facilities | 35.76% | Percentage | E | 2019 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 12 | Proportion of the population living in households with access to unimproved sanitation facilities | 1.097% | Percentage | E | 2019 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 13 | Proportion of the population living in households where members practice open defecation | 0.08571% | Percentage | E | 2019 | jmp_2021_aze_azerbaijan.xlsx
AZE | Azerbaijan | 14 | Estimated volume of wastewater generated by households connected to piped sewers | 147.2577 | million m3/year | C
AZE | Azerbaijan | 15 | Estimated volume of wastewater generated by households connected to septic tanks | 12.6255 | million m3/year | C
AZE | Azerbaijan | 16 | Estimated volume of wastewater generated by households with access to other improved sanitation facilities | 74.3882 | million m3/year | C
AZE | Azerbaijan | 17 | Estimated volume of wastewater generated by households with access to unimproved sanitation facilities | 0.64976 | million m3/year | C
AZE | Azerbaijan | 18 | Estimated volume of wastewater generated by households where members practice open defecation | 0.05075 | million m3/year | C
AZE | Azerbaijan | 19 | Proportion of sewer wastewater collected at treatment plants | 95.5% | Percentage | R | 2019 | State Statistical Committee of the Republic of Azerbaijan; Environment in Azerbaijan - Statistical Yearbook
AZE | Azerbaijan | 20 | Proportion of sewer wastewater safely treated at treatment plants | 91.6% | Percentage | R | 2019 | UNSD
AZE | Azerbaijan | 21 | Sewer wastewater treatment performance classification | Technology | - | R | 2019 | UNSD
AZE | Azerbaijan | 22 | Proportion of septic tanks with wastewater contained | 50% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 23 | Proportion of septic tanks with faecal sludge emptied and buried (on-site) | 0% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 24 | Proportion of septic tanks with faecal sludge emptied and discharged locally | 0% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 25 | Proportion of septic tanks with faecal sludge emptied and removed offsite (off-site) | 50% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 26 | Proportion of septic tanks with faecal sludge not yet emptied (on-site) | 50% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 27 | Proportion of septic tanks with faecal sludge collected at treatment plants (off-site) | 100% | Percentage | A |  | Default assumption
AZE | Azerbaijan | 28 | Septic tank treated at treatment plant | 91.6% | Percentage | A |  | Assuming that performance of septic tank wastewater treatment is the same as that for sewer wastewater treatment
AZE | Azerbaijan | 29 | Volume of household wastewater collected - Piped sewers (off-site) | 140.6311 | million m3/year | C
AZE | Azerbaijan | 30 | Volume of household wastewater collected - Septic tanks (off-site) | 3.1564 | million m3/year | C
AZE | Azerbaijan | 31 | Volume of household wastewater collected - Septic tanks (on-site) | 3.1564 | million m3/year | C
AZE | Azerbaijan | 32 | Volume of household wastewater collected - Total | 146.9438 | million m3/year | C
AZE | Azerbaijan | 33 | Volume of safely treated household wastewater - Piped sewer (off-site) | 128.8181 | million m3/year | C
AZE | Azerbaijan | 34 | Volume of safely treated household wastewater - Septic tank (off-site) | 2.8912 | million m3/year | C
AZE | Azerbaijan | 35 | Volume of safely treated household wastewater - Septic tank (on-site) | 3.1564 | million m3/year | C
AZE | Azerbaijan | 36 | Volume of safely treated household wastewater - Total | 134.8657 | million m3/year | C
AZE | Azerbaijan | 37 | Proportion of safely treated household wastewater - Piped sewer (off-site) | 54.82% | Percentage | C
AZE | Azerbaijan | 38 | Proportion of safely treated household wastewater - Septic tank (off-site) | 1.23% | Percentage | C
AZE | Azerbaijan | 39 | Proportion of safely treated household wastewater - Septic tank (on-site) | 1.343% | Percentage | C
AZE | Azerbaijan | 40 | Proportion of safely treated household wastewater (SDG 6.3.1) | 57.4% | Percentage | C

## Additional data
Country ID | Country/territory name | Variable name | Variable ID | Value | Units | Data type | Year | Data source | Notes
AZE | Azerbaijan | National household water consumption | 4 | 85.6422 | litres/person/day | R | 2019 | State Statistical Committee of the Republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | Calculated based on total domestic and drinking water consumption (312000000 m3/year) and the total population 9981000
AZE | Azerbaijan | Proportion of wastewater delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | 19 | 95.5 | % | R | 2019 | State Statistical Committee of the Republic of Azerbaijan; Environment in Azerbaijan - Statistical Yearbook | Calculated based on volumes given: (4863-218)/4863 [Discharge of sewage waters=4863 million m3; of which untreated wastwater=218 million m3]
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | 20 | 91.6 | % | R | 2019 | UNSD | Calculated based on volumes given (pri: 8.4%; sec: 91.6%; tert: 0%)
AZE | Azerbaijan | Proportion of population with sewer connections | Not used | 32.1 | % |  | 2012 | The state statistical committee of the republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | https://www.unece.org/fileadmin/DAM/stats/documents/ece/ces/ge.57/2014/Session_2_Azerbaijan_Water_statistics_EN.pdf
AZE | Azerbaijan | Proportion of population with sewer connections | Not used | 32.7 | % |  | 2017 |  | UNSD / National
AZE | Azerbaijan | Proportion of population with sewer connections | Not used | 98.3 | % |  | 2018 | JMP_2021-AZE_2018_SO-(Statistical Office 2018) | National
AZE | Azerbaijan | Proportion of population with sewer connections | Not used | 75.5 | % |  | 2019 | the state statistical committee of the republic of Azerbaijan | National
AZE | Azerbaijan | Proportion of wastewater delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 44.9 | % |  | 2012 | The state statistical committee of the republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | Normalised the proportion of population figure based on sewerage coverage. https://www.unece.org/fileadmin/DAM/stats/documents/ece/ces/ge.57/2014/Session_2_Azerbaijan_Water_statistics_EN.pdf
AZE | Azerbaijan | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 585000 | m3/day |  | 2017 | UNSD | Wastewater treated in urban wastewater treatment plants
AZE | Azerbaijan | Volume of wastewater that is delivered to treatment systems (i.e. not including leakages and/or discharges other then to WWTP) | Not used | 4644800000 | m3/year |  | 2019 | The State Statistical Committee of the Republic of Azerbaijan: ENVIRONMENT IN AZERBAIJAN - Statistical yearbook (publication)
AZE | Azerbaijan | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 14.4 | % |  | 2012 | The state statistical committee of the republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | https://www.unece.org/fileadmin/DAM/stats/documents/ece/ces/ge.57/2014/Session_2_Azerbaijan_Water_statistics_EN.pdf
AZE | Azerbaijan | Proportion of population connected to wastewater treatment systems (sewer) | Not used | 19.5 | % |  | 2017 | UNSD
AZE | Azerbaijan | Volume of wastewater delivered to treatment systems with primary treatment | Not used | 42600 | m3/day |  | 2017 | UNSD
AZE | Azerbaijan | Volume of wastewater delivered to treatment systems with primary treatment | Not used | 51500 | m3/day |  | 2019 | UNSD
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with primary treatment | Not used | 11.1 | % |  | 2012 | The state statistical committee of the republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | Population connected to wastewater treatment = 14.4%; Population conneted to at least secondary treatment = 12.8%; (14.4-12.8)/14.4
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with primary treatment | Not used | 7.3 | % |  | 2017 | UNSD | Calculated based on volumes given
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with primary treatment | Not used | 8.4 | % |  | 2019 | UNSD | Calculated based on volumes given
AZE | Azerbaijan | Proportion of population connected to treatment systems with primary treatment | Not used | 17.4 | % |  | 2017 | UNSD
AZE | Azerbaijan | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 542400 | m3/day |  | 2017 | UNSD
AZE | Azerbaijan | Volume of wastewater delivered to treatment systems with secondary treatment | Not used | 559230 | m3/day |  | 2019 | UNSD
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with secondary treatment | Not used | 88.9 | % |  | 2012 | The state statistical committee of the republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | Population connected to wastewater treatment = 14.4%; Population conneted to at least secondary treatment = 12.8%; 12.8/14.4
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with secondary treatment | Not used | 92.7 | % |  | 2017 | UNSD | Calculated based on volumes given
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with secondary treatment | Not used | 91.6 | % |  | 2019 | UNSD | Calculated based on volumes given
AZE | Azerbaijan | Volume of wastewater delivered to treatment systems with at least secondary treatment | Not used | 542400 | m3/day |  | 2017 | UNSD
AZE | Azerbaijan | Volume of wastewater delivered to treatment systems with at least secondary treatment | Not used | 559230 | m3/day |  | 2019 | UNSD
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 88.9 | % |  | 2012 | The state statistical committee of the republic of Azerbaijan / https://www.stat.gov.az/source/environment/?lang=en | Population connected to wastewater treatment = 14.4%; Population conneted to at least secondary treatment = 12.8%; 12.8/14.4
AZE | Azerbaijan | Proportion of wastewater (by volume) delivered to treatment systems with at least secondary treatment | Not used | 92.7 | % |  | 2017 | UNSD | Calculated based on volumes given
AZE | Azerbaijan | Proportion of wastewater effluent discharged from treatment systems that meets relevant standards | Not used | 5 | % |  | 2019 | The State Statistical Committee of the Republic of Azerbaijan: ENVIRONMENT IN AZERBAIJAN - Statistical yearbook (publication) | Normalised 4.8% against 95.5% of all generated wastewater being treated